**Amendment no.1**

Tender: Ref. No. ICS/11-12/013/DSTX/TSUN dated: 25th OCT 2016

Item name: compressed air pipe line –high pressure- 10bar.

Following points were discussed and informed to the participated bidders in the prebid meeting held on 10.11.2016 @11.00. a.m. at NCCRD Conference room and following specifications are additionally included in the specification.

1.       Three Siphon pressure gauges (12") required downstream of the pressure regulating valve.

2.       Three pressure release valves (safety valves) required downstream of the pressure regulating valve\*.

3.       Pressure test using nitrogen gas has to be done mandatorily.

4.       Qualified welder certificates to be provided.

5.       Details of previous work done of the similar nature required.

6.       Third party Inspection of the radiography testing should be done by government recognized person.

7. Due date is extended upto 18.11.2016.

\*Pressure Regulating Valve from NIRMAL INDUSTRIES is recommended.

Other terms and conditions are remains same.