| Fire Alarm System with Water free self extinguisher system |
| --- |
| Sl No | Particulars | Quantity |
| 1 | Panel signature data loop 230v | 1 No |
| 2 | Network Communication Board | 1 No |
| 3 | RS 232 Communication Board | 1 No |
| 4 | Cabinet / Wall box | 1 No |
| 5 | Door with window red | 1 No |
| Devices |
| 1 | Detector Base | 100 Nos |
| 2 | Intelligent Photoelectric smoke detector | 100 Nos |
| 3 | Manual Pull Station | 8 Nos |
| 4 | Control relay module | 12 Nos |
| 5 | Temporal Horn,84.4/79.4dB,15,30,75,110 cd Strobe, red | 12 Nos |
| 6 | Isolator Module | 5 Nos |
| 7 | Batteries | 2 Nos |
| 8 | Response Indicator | 50 Nos |
| 9 | Supply & Installation of 2c x1.5 sq.mm FRLS twisted(15 Twist per Meter) Screen armored cable RED in colors | 1500 mtr |

Annexure to our Enquiry NO: MET/SSAN/2013/001 Dt 21.02.2014.

Due date 10.03.2014

a)   Kindly quote separately the Taxes, Delivery charges, Installation &                                              warranty etc.

b)   Please forward us product Make, Catalogue and Literature for the same.

Technical Clarifications, if any please contact

Dr.S.Sankaran

Phone: 044 - 22574760

E: mail ssankaran@iitm.ac.in

*It is requested to visit our site before submit your quotation*

The sealed quotation to be reached on or before 10.03.2014 and forwarded to:

The Head

Department of Metallurgical & Materials Engg

Indian Institute of Technology Madras

Chennai – 600 036

|  | Dept of Metallurgical & Materials Engg Indian Institute of Technology Madras I.I.T.P.O., MADRAS- 600 036 |
| --- | --- |

Form for Inviting Quotations

| METSSAN | 2013 | 001 |
| --- | --- | --- |

Ref.No.									Date:

Dear Sirs,							DUE DATE:

- Quotations are invited in duplicate for the various items shown below / overleaf /  Enclosed list.

- The Quotations duly sealed and superscribed on the envelope with the reference No. and due date, should be addressed to the undersigned so as to reach him on or before the due date stipulated above.

- The Quotations should be valid for sixty days from the due date and the period of delivery required should also be clearly indicated.

- If the item is under DGS&D Rate contract No. and the price must be mentioned.  It may also please be indicated whether the supply can be made direct to us at the Rate contract price (Please note that we are not Direct Demanding Officers).  If so please send copy of the RC.

- Relevant literature pertaining to the items quoted with full specifications(and drawing, if any) should be sent along with the Quotations, wherever applicable. Samples if called for, should be submitted free of charges, and collected back at the supplier’s expenses.

- Local Firms : Quotations should be for free delivery to this Institute.  If Quotations for Ex-Godown delivery charges should be indicated separately.

- Firms Outside Madras : Quotations should be for F.O.R. Madras.  If F.O.R. consignor station, freight charges by passenger train / lorry transport must be indicated.  If Ex-Godown, packing, farwarding and freight charges must be indicated.

- The rate of sales / General Taxes and the percentage of such other taxes legally leviable and intended to be claimed should be distinctly shown along with the price quoted.  Where this is not done, no claim for Sales / General Taxes will be admitted at any stage and on any ground whatsoever The taxes leviable should take into consideration that we are entitled to have concessional Sales Tax applicable to non Government Educational Institutions run with no profit motive for which a concession.  Sales Tax Certificate will be issued at the time of final settlement of the bill.

- Goods should be supplied carriage paid and insurred.

- Goods shall not be supplied without an official supply order.

- Payment : Every attempt will be made to make payment within 30 days from the date of receipt of bill / acceptance of goods, whichever is later.

Encl: Annexure attached

Yours faithfully,

S/D

For  Head /MME