| Fire Alarm System with accessories |
| --- |
| 1 | Panel signature data loop 230v | 1 No |
| 2 | Network Communication Board | 1 No |
| 3 | RS 232 Communication Board | 1 No |
| 4 | Cabinet / Wall box | 1 No |
| 5 | Door with window red | 1 No |
| Devices |
| 1 | Detector Base | 100 Nos |
| 2 | Intelligent Photoelectric | 100 Nos |
| 3 | Manual Pull Station | 8 Nos |
| 4 | Control relay module | 12 Nos |
| 5 | Temporal Horn,84.4/79.4dB,15,30,75,110 cd Strobe,red | 12 Nos |
| 6 | Isolator Module | 5 Nos |
| 7 | Batteries | 2 Nos |
| 8 | Response Indicator | 50 Nos |
| 9 | Supply & Installation of 2c x1.5 sq.mm FRLS twisted(15 Twist per Meter) Screen armored cable RED in colour | 1500 mtr |

Enquiry NO: MET/2013/SSAN/Enquiry. Due on 14.02.2014

Technical Clarifications if any please contact Dr.S.Sankaran

Phone : 044-22575771  / E: mail ssankaran@iitm.ac.in