|  | INDIAN INSTITUTE OF TECHNOLOGY MADRAS Chennai 600 036 Telephone: (044) 2257 4742 E-mail: skpanigrahi@iitm.ac.in |  |
| --- | --- | --- |

Prof. Sushanta Kumar Panigrahi 		                                               Ref: MEE/2018/SUSH/018

Project Coordinator		                        			                 Dated: 24.12.2018

Limited Tender No: MEE/2018/SUSH/018

Due Date:  04.01.2019, 3:00pm

Pre-Bid meeting: - Not required.

Technical Bid opening meeting : 04.01.2019, 3:30pm

Dear Sir/Madam,

On behalf of the Indian Institute of Technology Madras, offers are invited for the supply of                             “Upgradation / replacement of equipment for Roll bonding simulation and forming capabilities” conforming to the specifications given in (Annexure-I):

Instructions to the Bidder

- Preparation of Bids: - The Limited tenders should be submitted under two-bid system (i.e.) Technical bid and Financial bid.

- Delivery of the tender: - The tender shall be sent to the below-mentioned addresses either by post or by courier so as to reach the following address before the due date and time specified in our Schedule:

Mechanical Stores,

Department of Mechanical Engineering,

IIT Madras

Chennai - 600 036.

- Opening of the tender: - The offer/Bids will be opened by a committee duly constituted for this purpose.  The technical bids will be opened first and it will be examined by a technical committee which will decide the suitability of the bid as per our specifications and requirements.  The bidders will be invited for opening of Technical bids. In respect of opening of financial bid, those bidders who are technically qualified only will be called for.

- Price: - The price should be quoted in net per unit (after breakup) and must include all packing and delivery charges to Department of Mechanical Engineering.

The offer/bid should be exclusive of taxes and duties.  The percentage of tax & duties should be clearly indicated separately. IIT Madras is eligible for concessional GST and relevant certificate will be issued.

In case of import supply, the price should be quoted without custom duty. IIT Madras is exempted from levy of IGST on Imports and eligible for concessional custom duty (not exceeding 5%) and the price should be quoted on EX-WORKS and CIP basis indicating the mode of shipment.

- Agency Commission: - Agency commission, if any, will be paid to the Indian agents in Rupees on receipt of the equipment and after satisfactory installation.  Agency Commission will not be paid in foreign currency under any circumstances. The details should be explicitly shown in Tender even in the case of ‘Nil’ commission. The tenderer should indicate the percentage of agency commission to be paid to the Indian agent.  The foreign Principal should indicate about the percentage of payment and it should be included in the originally quoted basic price, if any.

- Terms of Delivery: - The item should be supplied to our Departments as per Purchase Order.  In case of import supply, the item should be delivered at the cost of the supplier to our Institution.  The Installation/Commissioning should be completed as specified in our important conditions.

- Technical Bid Opening: The technical bid will be opened on 04.01.2019, 3:30pm at the Department of Mechanical Engineering, IIT Madras and the financial bids of those tenders who are technically qualified will be opened at a later date under intimation to them.

- IIT Madras reserves the full right to accept / reject any tender at stage without assigning any reason.

Yours sincerely,

Prof. Sushanta Kumar Panigrahi

Department of Mechanical Engineering,

IIT Madras

Chennai - 600 036.

SCHEDULE

Important Conditions of the tender

- The due date for the submission of the tender is 04.01.2019, 3:00pm.

The offers / bids should be submitted in two bids systems (i.e.) Technical bid and financial bid. The Technical bid should consist of all technical details / specifications only.  The Financial bid should indicate item-wise price for each item and it should contain all Commercial Terms and Conditions including Taxes, transportation, packing & forwarding, installation, guarantee, payment terms, pricing terms etc.  The Technical bid and financial bid should be put in separate covers and sealed.  Both the sealed covers should be put in a bigger cover.  The Limited Tender for supply of “Upgradation / replacement of equipment for Roll bonding simulation and forming capabilities” should be written on the left side of the Outer bigger cover and sealed.

- If an Indian agent is involved, the following documents must be enclosed:

Foreign principal’s proforma invoice indicating the commission payable to the Indian Agent and nature of after-sales service to be rendered by the Indian Agent.

- Copy of the agency agreement with the foreign principal and the precise   relationship between them and their mutual interest in the business.

- The offer/bids should be sent only for a machine that is available in the market and supplied to a number of customers.  A list of customers in India and abroad with details must accompany the quotations.  Quotations for a prototype machine will not be accepted.

- Original catalogue (not any photocopy) of the quoted model duly signed by the principals must accompany the quotation in the Technical bid

- Compliance or Confirmation report with reference to the specifications and other terms & conditions should also be obtained from the principal.

- Validity: Validity of Quotation not less than 60 days from the due date of tender.

- Delivery Schedule: - The tenderer should indicate clearly the time required for delivery of the item.  In case there is any deviation in the delivery schedule, liquidated damages clause will be enforced or penalty for the delayed supply period will be levied.

- Risk Purchase Clause: - In the event of failure of supply of the item/equipment within the stipulated delivery schedule, the purchaser has all the right to purchase the item/equipment from other sources on the total risk of the supplier under risk purchase clause.

- Payment: -

- No Advance payment will be made for Indigenous purchase.  However 90% Payment against Delivery and 10% after installation are agreed to wherever the installation is involved.  In case of import supplies the payment will be made only through 100% Letter of Credit i.e. (90% payment will be released against shipping documents and 10% after successful installation wherever the installation is being done).

- Advance Payment: - No advance payment is generally admissible. In case of specific percentage of advance payment is required, the Foreign Vendor has to submit a Bank Guarantee equal to the amount of advance payment and it should be routed through the Beneficiary Bank to the end user Bank. Otherwise, the Indian Agent of the foreign vendor has to submit a Bank Guarantee through a Nationalized Bank of India.

- On-site Installation: - The equipment or machinery has to be installed or commissioned by the successful bidder within 15 to 20 days from the date of receipt of the item at site of IIT Madras.

- Warranty/Guarantee: - The offer should clearly specify the warranty or guarantee period for the machinery/equipment.  Any extended warranty offered for the same has to be mentioned separately.  (For more details please refer our Technical Specifications).

- Late offer: - The offers received after the due date and time will not be considered.  The Institute shall not be responsible for the late receipt of Tender on account of Postal, Courier or any other delay.

- Acceptance and Rejection: - I.I.T. Madras has the right to accept the whole or any part of the Tender or portion of the quantity offered or reject it in full without assigning any reason.

- Do not quote the optional items or additional items unless otherwise mentioned in the Tender documents / Specifications.

- Disputes and Jurisdiction: -

  - Settlement of Disputes: Any dispute, controversy or claim arising out of or in connection with this PO including any question regarding its existence, validity, breach or termination, shall in the first instance be attempted to be resolved amicably by both the Parties. If attempts for such amicable resolution fails or no decision is reached within 30 days whichever is earlier, then such disputes shall be settled by arbitration in accordance with the Arbitration and Conciliation Act, 1996. Unless the Parties agree on a sole arbitrator, within 30 days from the receipt of a written request by one Party from the other Party to so agree, the arbitral panel shall comprise of three arbitrators. In that event, the supplier will nominate one arbitrator and the Project Coordinator of IITM shall nominate one arbitrator. The Dean IC&SR will nominate the Presiding Arbitrator of the arbitral tribunal. The arbitration proceedings shall be carried out in English language. The cost of arbitration and fees of the arbitrator(s) shall be shared equally by the Parties. The seat of arbitration shall be at IC&SR IIT Madras, Chennai..

  - The Applicable Law: This Purchase Order shall be construed, interpreted and governed by the Laws of India, Court at Chennai shall have exclusive jurisdiction subject to the arbitration clause.

  - Any legal disputes arising out of any breach of contract pertaining to this tender shall be settled in the court of competent jurisdiction located within the city of Chennai in Tamil Nadu.

- All Amendments, time extension, clarifications etc., will be uploaded on the website only and will not be published in newspapers. Bidders should regularly visit the above website to keep themselves updated. No extension in the bid due date/ time shall be considered on account of delay in receipt of any document by mail.

Acknowledgement: - It is hereby acknowledged that the tenderer has gone through all the conditions mentioned above and agrees to abide by them.

SIGNATURE OF TENDERER

ALONG WITH SEAL OF THE COMPANY WITH DATE

ANNEXURE - I

TECHNICAL SPECIFICATION FOR UPGRADATION/REPLACEMENT OF EQUIPMENT FOR ROLL BONDING SIMULATION AND FORMING CAPABILITIES

Essential Features:

- An existing equipment (Equipment make: M/s Kalpak Instruments & Controls, Pune) supplied with specifications as per columns 1, 2 and 3 of the following Table  (Purchase order no. MEE/SUSH/2017/1048/SPLX/550) should be upgraded as per the tabulated specification (4th Column) for expanding the machine capabilities related to Roll Bonding experimental simulation and Forming.

- The equipment should have provision for accommodating high temperature furnace and Environmental chamber in future. Therefore, proper arrangement and suitable insulation must have to be provided to the machine.

- Machine should either be upgraded or replaced in order to fulfill the tabulated technical specification as mentioned below.

- The required specifications with compared to supplied machine are tabled as following:

Technical Specifications:

| Sl. No. | Parameters | Specification of existing machine (Make: M/s Kalpak Instruments & Controls, Pune) | Requirements (Upgradation/Replacement) |
| --- | --- | --- | --- |
| 01 | Frame capacity | 3 Tons | 7.5 Tons |
| 02 | Load Frame | Double column frame. | Double column/Suitable frame |
| 03 | Ball Screw | Pre-Loaded type two ball screws with zero back lash, Covered with Bellows | Suitable ball screw for 7.5 Tons frame capacity |
| 04 | Mounting | Free standing Vertical Mounted with base | Free standing Vertical Mounted with base |
| 05 | Load Ranges | 0-30 KN with suitable Load Cells | 0-75 KN with suitable load cells |
| 06 | Load resolution | 0.01KN for 30 KN Load cell | 0.01KN for 75KN Load cell |
| 07 | Load Accuracy | +/-0.5% of Reading over 5 to 100% Load Cell range | +/-0.5% of Reading over 5 to 100% Load Cell range |
| 08 | Length Sensor | Encoder for Cross Head travel. | Encoder for Cross Head travel. |
| 09 | Length Resolution | For Cross head travel 0.01 mm | For Cross head travel 0.0001 mm |
| 10 | Length Accuracy | For Cross head Travel +/- 0.1 mm | For Cross head Travel +/- 0.1 mm |
| 11 | Cross head Speed | Upto 500 mm/min | 0.0005 mm/min to 1000 mm/min |
| 12 | Cross head Travel | 1050 mm, From top of bottom plate to bottom of top platen | 1250 mm, From top of bottom plate to bottom of top platen |
| 13 | Crosshead position Res. | 0.01 mm | 0.0001 mm |
| 14 | Working area |  | Sufficient area to accommodate press toll for micro forming, sheet metal forming operations. Working area should be sufficient to hold the environmental chamber/ furnace Column clearance: 700 mm or higher The approximate outer dimensions of furnace will be 700mm(W) X 800mm (D) X 700 mm(H) |
| 15 | Operating /Test Modes | Tensile, Compression, Bending, etc. with suitable accessories | Roll bonding related tests like peel tests, Tensile/ Compression/ Bending etc. with suitable accessories |
| 16 | Actuator Drive | Digital AC Servo Drive with Servo Motor | Suitable drive to accommodate required specifications |
| 17 | Control Mechanism | Computerized Controller based with dedicated software, add on cards, Provides control in both Auto & Manual mode | Computerized Controller based with dedicated software, add on cards, Provides control in both Auto & Manual mode |
| 18 | PC Config. (Minimum) | Windows 7 or 10 OS | Windows 7 or 10 OS with high end PC configuration |
| 19 | Safety Features | Emergency Stop, Over Travel Protection by full length adjustable Limit Switches, Electronic Over Load protection up to 100% capacity | Emergency Stop, Over Travel Protection by full length adjustable Limit Switches, Electronic Over Load protection up to 100% capacity |
| 20 | Data acquisition rate | ------------------------------------- | It should be able to acquire data at the rate of 2 kHz for the speed range of 0.0005 mm/min to 1000 mm/min |
| 21 | Software for Analysis & Control | Kalpak UTM TEST-C is a Windows based software for Control of Computerized UTM, Online Data Acquisition to PC and Data Analysis. It offers User friendly features such as: Digital Display for load and deformation Online as well as Offline graphical Display Test Speed Control and automatic Return Database of test results Printing of Test Reports for tested samples Ability to store test data in files Statistical analysis of test samples Comparative analysis using Multi graphs Self-recognition and calibration of load cell. User can design and add new tests | In addition to the features provided in TEST-C software, the following features should be incorporated: Strain controlled test mode. Test should stop automatically after reaching a user defined strain value. It should be able to acquire following data: Load Displacement Strain Rate Strain |
| 22 | Display | Both Numerical & Graphical Display on PC Monitor | Both Numerical & Graphical Display on PC Monitor |
| 23 | Units | Metric, Imperial & SI User Programmable | Metric, Imperial & SI User Programmable |
| 24 | Power Supply | 220 V, 50 Hz, 1500 VA | 220 V, 50 Hz, 1500 VA |
| 25 | Size | 1800(H) X 800(W)X 500(D) (Unit: mm) | 2150(H) (or lower (minimum 2000)) X 1200(W) X 600(D) Suitable. (Unit: mm) |
| 26 | Insulation | No insulation/provision to accommodate high temperature furnace. | Suitable insulation to the related or required parts of the equipment in order to accommodate a high temperature furnace and environmental chamber in future. Other related arrangements should also be made. |
| 27 | Warranty period | 12 months from the date of installation/commissioning | Entire machine inclusively all systems/ accessories should be warranted for 12 months from the date of installation/commissioning against all the design, material or manufacturing defects. Supplier should make two free visits to IIT Chennai facility as customer support program during warranty period. |
| 28 | Training |  | Supplier should provide necessary training to at least 5 persons designated by the customer in all types of testing at the customer site. The specimens for training must be provided by the supplier. |
| 29 | Other required features |  | Upgraded/Replaced machine should have provision to accommodate compression platen and plane strain compression platen (PSC Platen) which was customized for the current supplied machine. In case if there is size difference in shank holding portion then appropriate adaptor should be provided to accommodate existing platens. |
| 30 | Future Upgradation |  | The equipment should be capable for future upgradation to 10 Tons (100kN) capacity with similar specification. |
| Optional Accessories:(Will be purchased in future) Note: Accessories for Tensile, Bending, Tear, Adhesion, Flexure and Peel etc. will be purchased in future |
| 31 | Extensometer and strain gauge/card | Required extensometer should be provided as per standard |
| 32 | Peel Testing Fixture | Self-tightening type peel test grip suitable for holding standard peel test samples, Capacity: 30 kN, 75 kN |
| 33 | Tensile Testing Fixture | Self-tightening Wedge type tensile grip suitable for holding standard tensile samples, Capacity: 30 kN, 75 kN |
| 34 | Bending Fixture | Suitable 3-point bending fixture for flexure measurement/ cross breaking strength with provision for adjustable span; Capacity: 30 kN, 75 kN. |
| 35 | Compression Testing Fixture | Capacity: 30 kN, 75 kN. |
| 36 | Environmental Chamber | Suitable Environmental chamber (Testing range: Subzero to high temperature) |
| 37 | Upgradation | The up gradation cost for expanding the capability of the equipment upto 10 ton (100 kN) with same specification should be specified. |
| Other terms and conditions |
| 38 | Delivery condition | Equipment to be delivered in test ready, factory calibrated condition. |
| 39 | Compliance statement | Compliance statement needs to be provided clearly specifying COMPLY/NON-COMPLY with remarks of all of the points mentioned above. |
| 40 | Supplier must be an original equipment manufacturer (OEM) |
| 41 | Supplier must have supplied to at least three IITs/NITs/Govt. Institutions or Reputed government research laboratories within India. The list of supplied equipment with client details should be provided. |
| Other required features (Compulsory): |
| 42 | There should be provision to fix a base plate with threaded holes in order to accommodate the testing related fixtures. Thread holes should be provided to fix the base plate in place of bottom platen (in case we need to attach some other fixture for experiments in future). |