|  | INDIAN INSTITUTE OF TECHNOLOGY MADRAS Chennai 600 036 Telephone: (044) 2257 4205 E-mail: arnabrit@iitm.ac.in |  |
| --- | --- | --- |

Dr. Arnab Rit	     				           	                           Ref: CHY/ARNA/2018/010/SPLX

Project Coordinator		                        			                                     Dated: 8.11.2018

Limited Tender No: CHY/ARNA/2018/010/SPLX

Due Date:  22.11.2018, 3:00 pm

Bid opening Due Date: 22.11.2018, 4:30 pm

Dear Sir/Madam,

On behalf of the Indian Institute of Technology Madras, offers are invited for the supply of         “LABORATORY FURNITURE” conforming to the specifications given in (Annexure-I):

Instructions to the Bidder

- Preparation of Bids: - The Limited tenders should be submitted under one bid system (i.e.) Technical-cum-Financial bid.

- Delivery of the tender: - The tender shall be sent to the below-mentioned addresses either by post or by courier so as to reach the following address before the due date and time specified in our Schedule:

Dr. Arnab Rit

Dept. of Chemistry, IIT Madras

Chennai - 600 036.

- Opening of the tender: - The offer/Bids will be opened by a committee duly constituted for this purpose.

- Prices: - The price should be quoted in net per unit (after breakup) and must include all packing and delivery charges to Department of Chemistry, IIT Madras.

The offer/bid should be exclusive of taxes and duties.  The percentage of tax & duties should be clearly indicated separately. IIT Madras is eligible for concessional GST and relevant certificate will be issued.

In case of import supply, the price should be quoted without custom duty. IIT Madras is exempted from levy of IGST on Imports and eligible for concessional custom duty (not exceeding 5%) and the price should be quoted on EX-WORKS and CIP basis indicating the mode of shipment.

- Agency Commission: - Agency commission, if any, will be paid to the Indian agents in Rupees on receipt of the material and after satisfactory installation. Agency Commission will not be paid in foreign currency under any circumstances. The tenderer should indicate the percentage of agency commission to be paid to the Indian agent. The foreign Principal should indicate about the percentage of payment and it should be included in the originally quoted basic price, if any.

- Terms of Delivery: - The item should be supplied to our Departments as per Purchase Order.  In case of import supply, the item should be delivered at the cost of the supplier to our Institution. The Installation/Commissioning should be completed as specified in our important conditions.

- Technical-cum-financial bid opening: The bids will be opened on 22.11.2018, 4:30 pm     at the Department of Chemistry, IIT Madras.

- IIT Madras reserves the full right to accept / reject any tender at any stage without assigning any reason.

Yours sincerely,

Dr. Arnab Rit

Department of Chemistry,

IIT Madras

Chennai - 600 036.

SCHEDULE

Important Conditions of the tender

- The due date for the submission of the tender is 22.11.2018, 3:00 pm.

The offers / bids should be submitted in one bid systems (i.e.) Technical-cum-financial bid. Also, it should contain all Commercial Terms and Conditions including Taxes, transportation, packing & forwarding, installation, guarantee, payment terms, pricing terms etc. The bid should be put in cover and sealed. The Limited Tender for supply of                                            “LABORATORY FURNITURE” should be written on the left side of the cover.

- If an Indian agent is involved, the following documents must be enclosed:

Foreign principal’s proforma invoice indicating the commission payable to the Indian Agent and nature of after-sales service to be rendered by the Indian Agent.

- Copy of the agency agreement with the foreign principal and the precise relationship between them and their mutual interest in the business.

- Original catalogue (not any photocopy) of the quoted model duly signed by the principals must accompany the quotation in the Technical-cum-financial bid.

- Compliance or confirmation report with reference to the specifications and other terms & conditions should also be obtained from the principal.

- Validity: Validity of Quotation not less than 60 days from the due date of tender.

- Delivery Schedule: - The tenderer should indicate clearly the time required for delivery of the item. In case there is any deviation in the delivery schedule, liquidated damages clause will be enforced or penalty for the delayed supply period will be levied.

- Risk Purchase Clause: - In the event of failure of supply of the item/equipment within the stipulated delivery schedule, the purchaser has all the right to purchase the item/equipment from other sources on the total risk of the supplier under risk purchase clause.

- Payment: -

- No Advance payment will be made for Indigenous purchase. However 90% Payment against Delivery and 10% after installation are agreed to wherever the installation is involved. In case of import supplies the payment will be made only through 100% Letter of Credit i.e. (90% payment will be released against shipping documents and 10% after successful installation wherever the installation is being done).

- Advance Payment: - In specific cases, an exception can be made upon recommendation of Principal Investigator (No bank guarantee).

- Warranty/Guarantee: - The offer should clearly specify the warranty or guarantee period for the machinery/equipment. Any extended warranty offered for the same has to be mentioned separately.  (For more details please refer our Technical Specifications).

- The bidding company should be member of “The scientific equipment and Furniture association” (SIFA).

- Late offer: - The offers received after the due date and time will not be considered. The Institute shall not be responsible for the late receipt of Tender on account of Postal, Courier or any other delay.

- Acceptance and Rejection: - I.I.T. Madras has the right to accept the whole or any part of the Tender or portion of the quantity offered or reject it in full without assigning any reason.

- Do not quote the optional items or additional items unless otherwise mentioned in the Tender documents / Specifications.

- Disputes and Jurisdiction: -

  - Settlement of Disputes: Any dispute, controversy or claim arising out of or in connection with this PO including any question regarding its existence, validity, breach or termination, shall in the first instance be attempted to be resolved amicably by both the Parties. If attempts for such amicable resolution fails or no decision is reached within 30 days whichever is earlier, then such disputes shall be settled by arbitration in accordance with the Arbitration and Conciliation Act, 1996. Unless the Parties agree on a sole arbitrator, within 30 days from the receipt of a written request by one Party from the other Party to so agree, the arbitral panel shall comprise of three arbitrators. In that event, the supplier will nominate one arbitrator and the Project Coordinator of IITM shall nominate one arbitrator. The Dean IC&SR will nominate the Presiding Arbitrator of the arbitral tribunal. The arbitration proceedings shall be carried out in English language. The cost of arbitration and fees of the arbitrator(s) shall be shared equally by the Parties. The seat of arbitration shall be at IC&SR IIT Madras, Chennai.

  - The Applicable Law: This Purchase Order shall be construed, interpreted and governed by the Laws of India, Court at Chennai shall have exclusive jurisdiction subject to the arbitration clause.

  - Any legal disputes arising out of any breach of contract pertaining to this tender shall be settled in the court of competent jurisdiction located within the city of Chennai in Tamil Nadu.

- All Amendments, time extension, clarifications etc., will be uploaded on the website only and will not be published in newspapers. Bidders should regularly visit the above website to keep themselves updated. No extension in the bid due date/ time shall be considered on account of delay in receipt of any document by mail.

Acknowledgement: - It is hereby acknowledged that the tenderer has gone through all the conditions mentioned above and agrees to abide by them.

SIGNATURE OF TENDERER

ALONG WITH SEAL OF THE COMPANY WITH DATE

ANNEXURE - I

TECHNICAL SPECIFICATIONS OF THE LABORATORY FURNITURE

- Teak Wooden (treated for fire retardation and termites) island table with granite

Top and TRESPA, electrical fittings.

It is the intent of this specification to provide a Marine grade plywood (BWP-boiling water proof) island table specifically designed for the laboratory environment

- Dimension: (3500 L × 1500 W × 900 H) mm

- Carcass: 16 mm thick TRESPA with PVC edge tapes.

- Shutters: The shutters and drawers front will have chemical resistant PVC THERMO FOIL face E1/E2 grade core material the urethane acrylic coating on top of thermos foil is resistant to deformation and scratches PVC.

- The table tops shall be of at least 18 mm granite table-tops of an even surface and with edges polished.

- Under-bench should be at least 16 mm marine grade plywood for island table.

Under bench cabinet should be made of at least 16 mm marine grade plywood or better material laminated with at least 0.8 mm thick melamine or better material on the both sides. The lamination shall be done with hot press. The under-bench laminated wooden cabinet should have

- Three sliding drawers with locks

- One drawer and two-door cabinets with locks. Cabinets should be provided with one partition and two compartments. Shelves should be adjustable in heights.

Items a) and b) should alternate along the length of the work bench.

Drawers and cabinet doors should have stainless steel (316 L grade) or equivalent handles. Door handles and hinges should be made with Stainless Steel-316L/Zinc-Aluminium alloy or equivalent material.

- Lock: Branded lock with 180o locking facility cam type or equivalent for both shelf and drawers.

- Reagent rack: Worktop mounted double tier designed least 16 mm marine grade plywood reagent rack of standard dimension treated for fire retardation and termite.

- Electrical Fitting: Sockets and switches complete with internal wiring. All the electrical fittings should be of high quality of International standard for a voltage of 220/240V AC 50HZ. 15A sockets with switches with built-in fuses (8 Nos. on each side).

- Teak Wooden (treated for fire retardation and termites) wall table with TRESPA and granite table-tops, electrical fittings, sink.

- Dimension: (5000 L × 750 W× 900 H) mm

- Carcass: 16 mm thick TRESPA with PVC edge tapes.

- Shutters: The shutters and drawers front will have chemical resistant PVC THERMO FOIL face E1/E2 grade core material the urethane acrylic coating on top of thermos foil is resistant to deformation and scratches PVC.

- The table tops shall be of at least 18 mm granite table-tops of an even surface and with edges polished.

- Under-bench should be at least 16 mm marine grade plywood cabinets for the wall table:

Under bench cabinet should be made of at least 16 mm marine grade plywood or better material laminated with at least 0.8 mm thick melamine or better material. The lamination shall be done with hot press.

- Door handles and hinges should be made with Stainless Steel-316L/Zinc-Aluminium alloy or equivalent material.

- The under-bench laminated wooden cabinet should have

- Three sliding drawers with locks

- One drawer and two-door cabinets with locks. Cabinets should be provided with one partition and two compartments. Shelves should be adjustable in heights.

Items a) and b) should alternate along the length of the work bench.

- Drawers and cabinet doors should have stainless steel (316L grade) or equivalent handles.

- Lock: Branded lock with 180˚ locking facility cam type or equivalent for both shelf and drawers.

- Electrical Fitting:  Sockets and switches complete with internal wiring. All the electrical fittings should be of high quality of International standard for a voltage of 220/240V AC 50HZ. 15A sockets with switches with built-in fuses (4 Nos.).

- Teak Wooden (treated for fire retardation and termites) wall table with TRESPA and granite table-tops, electrical fittings

- Dimension: (1800 L × 900 W× 900 H) mm

- Carcass: 16 mm thick TRESPA with PVC edge tapes.

- Shutters: The shutters and drawers front will have chemical resistant PVC THERMO FOIL face E1/E2 grade core material the urethane acrylic coating on top of thermos foil is resistant to deformation and scratches PVC.

- Under-bench should be at least 16 mm marine grade plywood cabinets for the wall table:

Under bench cabinet should be made of at least 16 mm marine grade plywood or better material laminated with at least 0.8 mm thick melamine or better material. The lamination shall be done with hot press.

- Door handles and hinges should be made with Stainless Steel-316L/Zinc-Aluminium alloy or equivalent material

- Work surfaces materials: The table tops shall be of 18 mm granite table-tops of an even surface and with edges polished.

Under-bench wooden cabinets for wall table:

- Three sliding drawers with locks (one set)

- one drawer and two-door cabinets with locks. Cabinets should be provided with one partition and two compartments. Shelves should be adjustable in heights (one set).

- Drawers and cabinet doors should have Stainless Steel (316 L) or equivalent quality fittings.

- Lock: Branded lock with 180˚ locking facility cam type or equivalent for both shelf and drawers.

- Electrical Fitting:  Sockets and switches complete with internal wiring. All the electrical fittings should be of high quality of International standard for a voltage of 220/240V AC 50HZ. 15A sockets with switches with built-in fuses (2 Nos).

4.  Sink:

Polypropylene (PP) or Solid Epoxy construction for granite table-tops. Sink outlet shall be provided with a large bottle trap in PP construction. Size: (550 L x 410 W x 260 H) mm or similar size. Sink should be fitted with "Three Way Faucet".

5.   Peg Board:

Acrylic supported one Peg board with international quality

6.   Student sitting table

- Teak wood (TRESPA) frame with thick well-polished granite top.

- Dimension: (3000 L × 800 W× 800 H) mm.

7.   Laboratory stool

International standard SS laboratory teak wood stools (seven nos.)

- Dimension: (406 L×305 W× 610 H) mm

Other Terms and condition:

  - LABORATORY FURNITURE should come with the standard warranty of one year.

  - Local service is mandatory.

  - Installation of the laboratory furniture will be done at the Department of Chemistry, IIT Madras, Chennai, India.