Reference No:                                                                                                    Date: October 21 2013

Dear Sir,

We are interested in the import of the items shown/overleaf/as per list enclosed.

Micro-focus X-ray source for pre-clinical imaging application.

Specifications:

Item: Micro-focus X-ray source, controller/power supply and controller software.

Focal spot size:  Maximum between 40-65 micrometers

Peak Voltage: 50kV-90kV

Tube current: 1mA-2mA

Anode Target: Copper

Window Material: Be

Software: Software modules to control X-ray tube settings.

Trigger: Remote triggering.

Cooling: Forced air cooling (Typical)

Kindly arrange to send your quotation, in duplicate indicating CIF (Chennai) value of supply of the above items by Air Parcel/Air Freight/Ocean Freight, together with the illustrated literature of the items offered.

As per the current Exchange Control Regulations, the agency commission, is payable only in Rupees.  You are, therefore, requested to clearly indicate the amount of agency commission, included in the price, to enable us to deduct any pay the same to your Agents in Rupees on receipt of equipment in good condition.  Also please indicate the validity period (normally for three months) and the warranty terms.  It may please be noted that the letter of credit will be opened for Nett. CIF value only, after deducting the commission.

The due date for receiving the quotation is November 22nd 2013. The quotation (duly signed hard-copy) should be sent to the following address.

Address:

Dr. Ganapathy Krishnamurthi

Department of Engineering Design,

Indian Institute of Technology Madras,

Chennai 600036, India

Telephone: +91-44-2257 4745

Email: gankrish@iitm.ac.in

Sd/

(Dr. Ganapathy Krishnamurthi)

# Text boxes

| ED | 006 | 2013-14 | SPI |
| --- | --- | --- | --- |