| INDIAN INSTITUTE OF TECHNOLOGY MADRAS |
| --- |
| ENGINEERING UNIT |
| CHENNAI – 600 036 |
| Tender No: 81R / 2012 – 13 / Civil. |
| Name of work | Construction of new owzone shed near Shopping complex at IITM. |
| Approximate Value put to Tender | Rs. 24.30 Lakhs. |
| (for reference only) |  |
| Earnest Money Deposit | Rs. 49,000/-. |
| Cost of Tender Schedule | Rs. 500.00 |
| Vat @ 5% | Rs. 25.00 |
|  | Rs. 525.00 |
| Last date and Time of Receipt | Date | 12- 04 - 2013 |  |
|  | Time | 3.00 PM. |  |
| Date and Time of Opening | Date | 12- 04 - 2013 |  |
|  | Time | 3.10 PM. |  |
| Certified that the tender document contains 36 (Thirty Six pages) only and no alterations and additions have been made by me / us in the tender document. |

Signature of the Contractor 				       		       Executive Engineer (Civil)

# INDIAN INSTITUTE OF TECHNOLOGY MADRAS

###### ENGINEERING UNIT

###### CHENNAI – 600 036

INDEX

| Sl No | Description | Page No |
| --- | --- | --- |
| 1. | Notice Inviting Tender | 3 |
| 2. | Acceptance of Tender | 4-5 |
| 3. | General Rules and Directions | 6-7 |
| 4. | Condition of Contract | 8-10 |
| 5. | Schedule A to F | 11-13 |
| 6. | Clauses of Contract - Addenda & Corrigenda (A & C) | 14-15 |
| 7. | Guarantee Bond | 16-17 |
| 8. | Additional Conditions I & II, Special Conditions | 18-22 |
| 9. | Insurance | 23 |
| 10. | Conditions of Cement | 24-25 |
| 11. | Measurement & Preparation of Bill | 26 |
| 12. | Bill of Quantities | 27-36 |

Certified that the tender document contains 36 (Thirty Six pages) only and no alterations and additions have been made by me / us in the tender document.

Signature of the Contractor

INDIAN INSTITUTE OF TECHNOLOGY MADRAS

CHENNAI – 600 036

TENDER NOTICE NO:  81R / 2012 - 13

Sealed item rate Tenders are invited by the Executive Engineer (Civil), Indian Institute of Technology Madras, Chennai – 600 036, from the Registered Contractors of IIT Madras            (Civil – Class: I to IV) in item rate agreement form up to 3-00 P.M on 12- 04- 2013 for the work of “Construction of new owzone shed near Shopping complex  at IITM”.

Approximate value of items put to tender is Rs. 24.30 Lakhs. This is only for general guidance. The Tender can be downloaded from the IIT Madras web site (http://tenders.iitm.ac.in/).

Tenders should be accompanied by two crossed Demand Drafts drawn in favour of IITM Chennai - 600 036 for Rs. 49,000/- towards Earnest Money Deposit and Rs. 525/- (Non – Refundable) towards cost of tender schedule. Tenders received without Earnest Money Deposit and cost of tender schedule will be summarily rejected.

Completed Tenders received at Office of Executive Engineer (Civil) in time and will be opened after 3.10 P.M on 12- 04 - 2013 in the presence of Tenderers or their authorized agents.

Executive Engineer (Civil)

INDIAN INSTITUTE OF TECHNOLOGY MADRAS

###### ENGINEERING UNIT

###### CHENNAI – 600 036

Item Rate Tender & Contract for Works

A) Tender for the work of	: “Construction of new owzone shed near Shopping complex at IITM.”

(i) To be submitted by _____________________________ hours on ______________________

to _____________________________________________________________________

(ii) To be opened in presence of tenderers who may be present at ___________________ hours

on _____________________ in the office of ____________________________________

T E N D E R

I / We have read and examined the notice inviting tender, schedule, A, B, C, D, E & F,  Specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, Clauses of Contract, Special Conditions, Schedule of Rates & other documents and rules referred to in the conditions of contract and all other contents in the tender document for the work.

I / We hereby tender for the execution of the work specified for the IIT within the time specified in Schedule ‘F’, viz., and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions and in Clause 11 of the Conditions of contract and with such materials as are provided for, by, and in respects in accordance with, such conditions so far as applicable.

We agree to keep the tender open for Ninety (90) days from the due date of submission thereof and not to make any modifications in its terms and conditions.

A sum of Rs. 49,000/- has been deposited in cash / receipt treasury challan / deposit at call receipt of a scheduled bank / fixed deposit receipt of a scheduled bank / demand draft of a scheduled bank as earnest money.  If I/We, fail to furnish the prescribed performance guarantee within prescribed period, I/we agree that the said office shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money absolutely.  Further, if I/we fail to commence work as specified, I/we agree that IITM or his successors in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money and the performance guarantee absolutely, otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered, upto maximum of the percentage mentioned in Schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provision contained in Clause 12.2 and 12.3 of the tender form.

I/we hereby declare that I/we shall treat the tender documents drawings and other records connected with the work as secret / confidential documents and shall not communicate information derived there from to any person other than a person to whom I/we am / are authorized to communicate the same or use the information in any manner prejudicial to the safety of the State.

Date _________________						Signature of Contractor

Postal Address

Witness:

Address:

Occupation:

A C C E P T A N C E

The above tender (as modified by you as provided in the letters mentioned hereunder) is accepted by me for an on behalf of the President of India for a sum of Rs. __________________ (Rupees______________________________________________________________________________________________________________________________________________________________)

The letters referred to below shall form part of this contract Agreement:

a)

b)

c)

For & on behalf of the President of India

Signature ________________________

Designation ______________________

Date ______________________

General Rules and Directions

- The tender must be signed by the person / persons competent to sign as indicated in Technical bid.  Same stipulations will also apply in the case of Receipt for payments made on account of work to the successful Contractor who has signed the Contract Agreement.

- This form will state the work to be carried out, as well the date for submitting and opening tenders and the time allowed for carrying out the work, also the amount of earnest money to be deposited with the tender, and the amount of the security deposit to be deposited by the successful tenderer and the percentage, if any to be deducted from bills. Copies of the specifications, designs and drawings and any other documents required in connection with the work signed for the purpose of identifications by the officer inviting tender, shall also be open for inspection by the contractor at the office of officer the inviting tender, during office hours.

3.	Any person who submits a tender shall fill up the form, stating at what item rate & amount he is willing to undertake the full work. Only one rate shall be given in words & figures for each item. Tenders, which propose any alteration in the work specified in the said form of invitation to tender, or in the time allowed for carrying out the work, or which contain any other condition of any sort including conditional rebates, will be summarily rejected.  Tender shall have the name and number of the work to which they refer, written on the envelopes.  Amount must be quoted in full rupees by ignoring fifty paise and considering more than fifty paise as rupee one.

4.  The officer inviting tender or his duly authorized assistant will open Financial Bids of those Tenderers whose, Technical Bids have been found acceptable, in the presence, of any intending Contractors or their authorized agents who may be present at the time, and will enter the amounts of the several tenders in a comparative statement in a suitable form.  In the event of a tender being accepted, a receipt for the Earnest Money forwarded therewith shall thereupon be given to the Contractor. In the event of a tender being rejected, the Earnest Money forwarded with such unaccepted tender shall thereupon be returned to the Contractor remitting the same, without any interest.

5.  The officer inviting tenders shall have the right of rejecting all or any of the tenders and will not be bound to accept the lowest or any other tender.

6.  The memorandum of work tendered for and the schedule of materials to be supplied by the institute and their issue-rates, shall be filled and completed in the office of the officer inviting tender before the tender form is published.  If a form is published to an intending tenderer without having been so filled in and incomplete, he shall request the officer to have this done before he completes and delivers his tender.

7. 	The tenderers shall sign a declaration under the Official Secret Act, 1923, for maintaining   secrecy of the tender documents, drawings or other records connected with the work given to them.

8. In the case of item Rate Tenders, only rates quoted shall be considered.  Any tender containing percentage below/above the rates quoted is liable to be rejected. Rates quoted by the contractor in item rate tender in figures and words shall be accurately filled in so that there is no discrepancy in the rates written in figures and words.  However, if a discrepancy is founds, the rates which correspond with the amount worked out by the contractor shall unless otherwise proved be taken as correct.  If the amount of an item is not worked out by the contractor or it dose not correspond with the rates written either in figures or in words, then the rates quoted by the contractor in words shall be taken as correct.  Where the rates quoted by the contractor in figures and in words tally but the amount is not worked out correctly, the rates quoted be the contractor, will, unless otherwise proved, be taken as correct and not the amount.

9.   In the case of any tender where unit rate of any item/items appear unrealistic, such tender will be considered as unbalanced and in case the tendered is unable to provide satisfactory explanation, such a tender is liable to be disqualified and rejected.

10.	All rates shall be quoted on the tender form.  The amount for each item should be worked out and the requisite totals given. Special care should be taken to write the rates in figures as well as in words and the amount in figures only in such a way that interpolation is not possible. The total amount should be written both in figures and in words.  In case of figures, the word ‘Rs’  should be written before the figure of ‘Rupees’ and the work ‘ P ‘ after the decimal figures, eg.’ Rs 2.15P’ and in case of words, the word, “Rupees” should precede and the work ‘Paise’ should be written at the end.  Unless the rate is in whole rupees and followed by the word ‘only’, it should invariably be up to two decimal places.  While quoting each rate in schedule of tender, the word ‘only’ should be written closely following the rate and it should not be written in the next line.

11. a. The Contractor, whose tender is accepted, will be required to furnish performance guarantee of 5% (five percent) of the tendered amount within specified period.  This guarantee shall be in the form of Government Securities or fixed deposit receipt of any scheduled bank, guarantee bonds of any scheduled bank or state bank of India.

b. The contractor whose tender is accepted will be required to furnish by way of Security Deposit for the fulfillment of his contract, an amount equal to 5 % of the tendered value of the work.  The Security deposit will be collected by deductions from the running bill of the contractor at the rates mentioned above and the earnest money if deposited in cash at the time of tender will be treated as a part of this Security Deposit.  The SD amount will also be accepted in cash or in the shape of Government securities.  Fixed deposit receipt of a scheduled bank or State bank of India will also be accepted for this purpose.  Provided confirmatory advice is enclosed.

On acceptance of the tender, the name of the accredited representative (s) of the Contractor who would be responsible for taking instructions from the Engineer in Charge shall be communicated in writing to the Engineer in Charge.

12.	Sales-tax (VAT), service tax, purchase tax, turnover tax, Service tax, works contract tax  or any other tax on material, labour and works in respect of this contract shall be payable by the contractor and IITM will not entertain any claim whatsoever in respect of the same.

13.	The Contractor shall give a list of both gazetted and non-gazetted IITM employees related to him.

14.	The tender for the work shall not be witnessed by a Contractor or Contractors who himself / themselves has/have tendered for the same work.  Failure to observe this condition would render tenders of the Contractor tendering, as well as witnessing the tender, liable to summary rejection.

15. The contractor shall comply with the provisions of the Apprentices Act 1961, and the rules and orders issued there under from time.  If he fails to do so, his failure will be a breach of the contract and the Executive Engineer (Civil) may in his discretion, without prejudice to any other right or remedy available in low, cancel the contract.  The contractor shall also be liable for any pecuniary liability on account of any violation by him of the provisions of the said Act.

Signature of Contractor 				                         Executive Engineer (Civil)

Conditions of contract

1.	The Contract means the documents forming the tender and acceptance thereof and the formal agreement executed between the competent authority on behalf of the IIT and the Contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions issued from time to time by the Engineer-in-charge and all these documents taken together, shall be deemed to form one contract and shall be complementary to one another.

2.	In the contract, the following expressions shall, unless context otherwise requires, have the	 meanings, hereby respectively assigned to them:-

- The expression works or work shall, unless there be something either in the subject or context repugnant to such construction, be construed and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent, and whether original, altered, substituted or additional.

- The Site shall mean the land/or other places on, into or through which work is to be executed under the contract or any adjacent land, path or street through which work is to be executed under the contract or any adjacent land, path or street which may be allotted or used for the purpose of carrying out the contract.

- The contractor shall mean the individual, firm or company, whether incorporated or not, undertaking the works and shall include the legal personal representative of such individual or the persons composing such firm or company, or the successors of such firm or company and the permitted assignees of such individual, firm or company.

- The Engineer-in-charge means the Engineer officer who shall supervise and be in-charge of the work and who shall sign the contract on behalf of IIT as mentioned in Schedule ‘F’ hereunder.

- Accepting Authority shall mean the authority mentioned in Schedule ‘F’.

- Excepted Risk are risks due to riots (other than those on account of contractor’s employees), war (whether declared or not) invasion, act of foreign enemies, hostilities, civil war, rebellion revolution, insurrection, military or usurped power, any acts of IITM, damages from aircraft, acts of God, such as earthquake, lightening and unprecedented floods, and other causes over which the contractor has no control and accepted as such by the Accepting Authority or causes solely due to use or occupation by IITM of the part of the works in respect of which a certificate of completion has been issued or a caused solely due to IITM faulty design of works.

- Market Rate shall be the rate as decided by the Engineer-in-charge on the basis of the cost of materials and labour at the site where the work is to be executed plus the percentage mentioned in Schedule ‘F’ to cover, all overheads and profits.

- Schedules(s) referred to in these conditions shall mean the relevant schedule(s) annexed to the tender papers or the standard schedule of Rates of the CPWD mentioned is schedule ‘F’ hereunder, with the amendments thereto issued upto the date of receipt of the tender.

- Department means IITM which invites tenders.

- District specification means the specifications followed by the state of Tamil Nadu in the area where the work is to be executed.

- Tendered value means the value of the entire work as stipulated in the letter of award.

3.	Where the context so requires, words imparting the singular only also include the plural and vice versa. Any reference to masculine gender shall whenever required include feminine gender and vice versa.

4.	Headings and marginal notes to these General Conditions of contract shall not be deemed to form part thereof be taken into consideration in the interpretation or construction thereof or of the contract.

5.	The contractor shall be furnished, free of cost one certified copy of the contract documents except standard specification, Schedule of Rates and such other printed and published documents, together with all drawings as may be forming part of the tender papers.  None of these documents shall be used for any purpose other than that of his contract.

6.	The work to be carried out under the contract shall, except as otherwise provided in these conditions, include all labour, materials, tools, plants, equipments and transport which may be required in preparation of and for and in the full and entire execution and completion of the works.  The descriptions given in the Schedule of quantities (Schedule-A) shall, unless otherwise states, be held to include wastage on materials, carriage and cartage, carrying and return of empties, hoisting, setting, fitting and fixing in position and all other labours necessary in and for the full ands entire execution and completion of the work as aforesaid in accordance with good practice and recognized principles.

7.	The contractor shall be deemed to have satisfied himself before tendering as to the correctness and sufficiency of his tender for the works and of the rates and prices quoted in the schedule of Quantities, which rates and prices shall except as otherwise provided cover all his obligation under the contract and all matters and things necessary for the 	proper completion and maintenance of the works.

8.	The several documents forming the contact are to be taken as mutually explanatory of one another, detailed drawings being following in preference to small scale drawing and figured dimensions in preference to scale and special conditions in preference to General conditions.

8.1	In the case of discrepancy between the schedule of Quantities, the specifications and/or the Drawings, the following order of preference shall be observed.

- Description of Schedule of Quantities.

- Particular Specification and special condition, if any

- Drawings.

- C.P.W.D Specifications

- Indian Standard specifications of B.I.S.

8.2	If these are varying or conflicting provisions made in any one document forming part of the contract, the Accepting Authority shall be the deciding authority with regard to the intention of the documents and his decision shall be final and binding on the contractor.

8.3	Any error in description, quantity or rate in schedule of Quantities or any omission there from shall not vitiate the contractor or release the contractor from the execution of the whole or any part of the works comprised therein according to drawings and specifications 	or from any of his obligations under the contract.

9.	The successful tenderer/contractor, on acceptance of his tender by the Accepting Authority, shall within 15 days from the stipulated date of start of the work sign the contract consisting of:-

i)	The notice inviting tender, all the documents including drawings, if any, forming the 	tender as issued at the time invitation of tender and acceptance thereof together 	with any

correspondence leading thereto.

- Standard C.P.W.D Form as mentioned in Schedule ‘F’ consisting of:-

  - Various standard clauses with corrections upto the date stipulated in schedule ‘F’ along with annexure thereto.

  - C.P.W.D Safety code.

  - Model Rules for the protection of health, sanitary arrangements for workers employed by CPWD of its contractors.

  - CPWD contractor’s Labour Regulations.

  - List of Acts omissions for which fines can be imposed.

ADDITIONAL SPECIFICATIONS

The additional specifications given below are not substitute to CPWD specifications or IS specifications.  These shall be read along with CPWD specifications or IS specifications.

GENERAL

- The work shall be carried out using metric dimensions only and shall be measured and paid in metric dimensions.  F.P.S. units, if any, mentioned in drawings etc are for guidance only.

- Wherever any reference to any Indian Standard Specification occurs in the documents relating to this contract the same shall be inclusive of all amendments issued there to or revision there of if any, up to the date of receipt of tenders.

- Unless otherwise specified in the schedule of quantities the rates for the various items are for all heights and locations.

- Unless otherwise specified in the schedule of quantities the rate for the items of the work shall be considered as inclusive of pumping out or bailing out water, if required, for which no extra payments will be made.  This will include water encountered form any source, such as rains, floods, sub-soil water table being high or due to any other cause whatsoever.

- The tender shall study the item description, the relevant drawings and satisfy himself the item of work to be carried

Executive Engineer (Civil)

PROFORMA OF SCHEDULE

SCHEDULE – ‘A’

The Bill of Quantities enclosed separately along with Tender (Financial bid)

SCHEDULE – ‘B’

NO MATERIAL SHALL BE ISSUED TO THE CONTRACTOR BY IITM.

SCHEDULE – ‘C’

Schedule of tools and plants proposed to be hired to the contractor.

NO TOOLS AND PLANTS SHALL BE HIRED TO THE CONTRATOR.

SCHEDULE – ‘D’

Extra schedules for specific requirements / documents for the work, if any.

- No labour shall be permitted to stay in the campus

- All debris obtained from dismantling the existing structure should be removed from site of

work before start of work.

SCHEDULE – ‘E’

Schedule of component of cement, steel other materials, labour etc for price escalation.

CLAUSE – 10 CC

Clause 10 CC of General Conditions of Contract is not applicable to this work.

SCHEDULE – ‘F’

Reference to General conditions of contract

Name of work                                              		  : “Construction of new owzone shed near Shopping complex  at IITM.”

Estimated cost or work		: Rs. 24.30 Lakhs.

i)   Earnest Money Deposit                                   			 : Rs. 49,000/-.

ii)   Security Deposit			           	  		 : 5% of tendered value. (Inclusive of EMD)

iii)   Performance Guarantee                            		 : 5% of tendered value.

General Rules and Directions:

Officer inviting tender 						: Executive Engineer (Civil), IITM

Maximum percentage for quantity of items work

to be executed beyond which rates are to be 		: See below

determined in accordance with clause 12.2 and 12.3.

Definition

2 (v)		Engineer in charge 				Executive Engineer (Civil).

2 (viii)		Accepting authority				Director, IIT Madras.

2 (x)	Percentage on cost of material and

labour to cover all overheads 		15%.

and profits.

2 (xi)		Standard schedule of rates			CPWD DSR 2012.

2 (xii)		Department					IIT Madras.

9 (ii)		Standard CPWD contract form 		CPWD 8 as modified and

Corrected up to till date.

Clause 1

1.	Time allowed for submission of Performance

Guarantee from the date of issue of letter of 		7 (Seven) Days

acceptance in days.

2.	Maximum allowable extension beyond the

period provided above  				7 (Seven) Days.

Clause 2

Authority for fixing compensation under clause 2. 	Executive Engineer (Civil).

Clause 2a

Whether clause 2a shall be applicable		Yes applicable.

Clause 5

Number of days from the date of issue of

letter of acceptance for reckoning date of start	14 Days.

[

Time allowed for execution of work 			 3 Months

Authority to give fair and reasonable 			Executive Engineer (Civil)

Extension of work for completion of work		IITM

Clause 7

Gross work to be done together with net

payment/ adjustment of advances for material

collected, if any, since the last such payments	8.00 Lakhs

for being eligible to interim payment.

Clause 10 CC

Clause 10 CC is not applicable to this work

Clause 11

Specification to be followed for execution of work	Particular specifications

CPWD Specifications

IS codes

Manufacturer’s specifications

General engineering practice

Clause 12.2 & 12.3

Deviation limit beyond which clauses			30%

12.2 & 12.3  shall apply for this work

Clause 12.5

Deviation limit beyond which clauses 12.2               100%

&12.3 shall apply for foundation work

Clause 16

Competent Authority for				Executive Engineer (Civil)

Deciding reduced rates.	            		IITM

Clause 36(i)

| Designation | Minimum qualification and experience required | Discipline | Rate of recovery per month |
| --- | --- | --- | --- |
| Technical Representatives | Graduate (fresh candidate) or Diploma Engineer with 5 years experience - 1 No. | Civil Engineering | Rs. 15,000/- |

Assistant Engineers retired from Government services that are holding Diploma

will be treated at par with Graduate Engineers

## Clause 42

i) (a)	Schedule for determining theoretical		DSR 2012

quantity of cement 	Published by CPWD

ii) 	Variations permissible on theoretical

quantities

a) Cement

i) to be brought by contractor		3% minus

b) Steel

i) To be brought by contractor 		2% minus

For material to be brought by contractor

In case of less consumption than the above, necessary recovery shall be made as per rates given below.

However for over consumption no additional payment shall be made.

Recovery rates for quantities beyond permissible variation

For material to be brought by contractor

| Sl No | Description of item | Rates in figures and words at which recovery shall be made from the contractor’s |
| --- | --- | --- |
|  |  | Excess beyond permissible variation | Less use beyond the permissible variation |
| 1 | Cement | No extra payment or deduction shall be made | Market rate at the time of execution of work plus 10% as decided by the Engineer in Charge |
| 2 | Steel reinforcement | No extra payment or deduction shall be made | Market rate at the time of execution of work plus 10% as decided by the Engineer in Charge |

CLAUSES OF CONTRACT

ADDENDA & CORRIGENDA (A & C)

Settlement of Disputes & Arbitration

Except where otherwise provided in the contract all question and disputes relating to the meaning of the specifications, designs, drawings and instructions here-in before mentioned  and as to the quality of workmanship or materials used or as to any other question, claim,  right, matter or thing whatsoever in any way arising out of or relating to the contract, designs, drawings, specifications, estimates, instructions, orders of these conditions or otherwise concerning the works or the execution or failure to executes the same whether arising during the progress of work or after the cancellation, termination, completion or abandonment thereof shall be dealt with as mentioned herein after.

i) If the Contractor considers any work demanded of him to be outside the requirements of the contract, or disputed any drawings, record or decision given in writing by the Engineer-in-charge or any matter in connection with or arising out of the Contract or carrying out of the work, to be unacceptable, he shall promptly within 15 days request the Executive Engineer (Civil)in writing for written instruction or decision. Thereupon, the Executive Engineer (Civil)shall give his written instructions or decisions within a period of one month from the receipt of the contractor's letter.

If the Executive Engineer (Civil)fails to give his instructions or decisions in writing within the aforesaid period or if the Contractor is dissatisfied with the instructions or decision of the Executive Engineer (Civil), the Contractor may, within 15 days of the receipt of Executive Engineer (Civil)decision appeal to the Chairman (Engineering Unit), IITM who shall afford an opportunity to the Contractor to be heard, if the mater so desires and to offer evidence in support of his appeal. The Chairman (Engineering Unit), IITM shall give his decision within 30 days of receipt of Contractor's appeal.

ii) If the Contractor is dissatisfied with the decision of the Chairman (Engineering Unit), the Contractor shall within a period of 15 days of the receipt of  the Chairman’s decision appeal to the Director , IITM who shall afford an opportunity to the Contractor to be heard, if the mater so desires and to offer evidence in support of his appeal. The Director, IITM shall give his decision within 30 days of receipt of Contractor's appeal.

iii) If the contractor is dissatisfied with the decision of the Director IITM, he shall, with in 30 days of the receipt of the decision shall give notice to the Director IITM for appointment of an arbitrator to adjudicate his claims, failing which the said decision of the Director, IITM shall be final and binding on the contractor.

iv) Except where the decision has become final, binding and conclusive in terms of Sub para (iii) above, disputes or difference shall be referred for adjudication through a sole arbitrator appointed by the Director, IITM. If the arbitrator so appointed is unable or unwilling to act or resigns his appointment or vacates his office due to any reason whatsoever another sole arbitrator shall be appointed in the manner aforesaid. Such person shall proceed with the reference from the stage at which it was left by his predecessor.

It is a term of this contract that the party invoking arbitration shall give list of disputes with amounts claimed in respect of each such dispute along with the notice for appointment of arbitrator and giving reference to the rejection by the Director, IITM of the appeal.

It is also a term of this contract that no person other than a person appointed by such Director, IITM, as aforesaid should act as arbitrator.

It is also a term of this Contract that if the Contractor does not make any demand for appointment of arbitrator in respect of any claims in writing as aforesaid within 120 days of receiving the intimation from the Engineer-in-charge that the final bill is ready for payment, the claim of the Contractor shall be deemed to have been waived and absolutely barred and IITM shall be discharged and released of all liabilities under the Contract in respect of these claims.

The arbitration shall be conducted in accordance with the provisions of the Arbitration and Conciliation Act 1996 (26 of 1996) or any statutory modifications or reenactment thereof and the rules made there under and for the time being in force shall apply to the arbitration proceeding under this clause.

It is also term of this Contract that the arbitrator shall adjudicate on only such disputed as are referred to him by the Director, IITM and give separate award against each dispute and claim referred to him and in all cases where the total amount of the claims by any party exceeds Rs.1,00,000/-  the arbitrator shall give reasons for the award.

It is also a term of the Contract that if any fees are payable to the arbitrator, these shall be paid equally by both the parties.

It is also a term of the  Contract that the arbitrator shall be deemed to have entered on the reference on the date of issues notice to both the parties calling them to submit their statement of claims and counter statement of claims. The venue of the arbitration shall be such place as may be fixed by the arbitrator in his sole discretion. The fees, if any, of the arbitrator shall, if required to be paid before the award is made and published, be paid half and half by each of the parties. The cost of the reference and of the award (including the fees, if any, of the arbitrator) shall be in the discretion of the arbitrator who may direct to any by whom and in what manner, such costs or any part thereof shall be paid and fix or settle the amount of costs to be so paid.

v) Page 55 – Claus 37 "Levy / Taxes Payable by Contractor"

Para (i) shall be substituted as under

“Sales tax including VAT if any or any other tax on materials as well as on Labour and   Works in respect of this Contract shall be payable by the Contractor and IITM shall not entertain any claim whatsoever in this respect."

guarantee bond

Form of performance security (guarantee)

Bank guarantee bond

In consideration of the Indian Institute of Technology Madras (hereinafter called “The Institute”) Having offered to accept the terms and conditions of the proposed agreement between ………………and……………(hereinafter called “the said contractor (s))for the work………………………(hereinafter called “the said agreement”) having agreed to production of a irrevocable bank Guarantee for Rs………….(Rupees………….only) as security / guarantee from the contractor (s) for compliance of his obligations in accordance with the terms and condition in the said agreement.

1) We……(Indicate the name of the Bank)… (Hereinafter referred to as “the Bank”) hereby Undertake to pay to the Institute an amount not exceeding Rs…………(Rupees…………………..only) on demand by the Institute.

2) We……………do hereby undertake to pay the amounts due and payable under this Guarantee without any demure, merely on a demand from the Institute stating that the amount claimed is required to that recoveries due or likely to be due from the contractor (s).  Any such demand on the Bank shall be conclusive as regard the amount due and payable by the bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs……….(Rupees…………………….only)

3) We, the said bank further undertake to pay to IITM any money so demanded notwithstanding any dispute or disputes raised by the contractor (s) in any suit or proceeding pending before any court or Tribunal relating thereto, our liability under this present guarantee being absolute and unequivocal. he payment so made by us under this bond shall be a valid discharge of our liability payment therein under and the contractor (s) shall have no claim against us for making such payment.

4) We………(Indicate the name of the bank)………..further agree that the guarantee herein Contained shall remain in full force and effect during the period that would be taken for the said performance of the said  agreement and that it shall continue to be enforceable till all the dues of the Institute under or by virtue of the said agreement have been fully paid and claims satisfied or discharged or till Engineer-in-charge on behalf of the Institute certifies that the terms and conditions of the said agreement have been fully and properly carried out by the said contractor (s) and accordingly discharges this guarantee.

5) We…(Indicate the name of the Bank) …further agree with the Institute that the Institute  shall have the fullest liberty without our consent without effecting in  any manner our obligations hereunder to vary any of the terms and conditions of the said agreement or to extend time of performance by the said contractor (s) from time to time or to postpone for any time or from time to time any of the powers exercisable by the Institute  against the said contractor (s) and to forebear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation or extension being granted to the said contractor (s) or for any forbearance, act of omission on the part of the Institute on any indulgence by the Institute  to the said contractor (s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

6) This guarantee will not be discharged due to the change in the constitution of the bank or the contractor (s).

7) We……(Indicate the name of the Bank) …lastly undertake not to revoke this  Guarantee except with the previous consent of the Institute in writing.

8) This guarantee shall be valid up to………unless extended on demand by Institute.  Notwithstanding anything mentioned above, our liabilities under this guarantee is restricted to Rs … (Rupees ……) and unless a claim of writing is lodged with us within six month of the date of expiry or extended date  of expiry of this  guarantee all our  liabilities under this guarantee shall stand discharge.

Dated the…………………..day of……………for………………..(Indicate the name of the Bank)

Form of guarantee bond FOR EMD

In consideration of the Indian Institute of Technology Madras (hereinafter called “The Institute”) Having offered to accept the terms and conditions of the proposed tender for the work of …………..………………………………………….………………………………………

having agreed to production of a irrevocable bank Guarantee for Rs………….(Rupees……………………….only) as security from the contractor (s) for compliance of his obligations in accordance with the terms and condition in the  tender.

1) We……(Indicate the name of the Bank )…………(hereinafter referred to as “the Bank”) hereby undertake to pay to the Institute an amount not exceeding Rs……………………

(Rupees…………………..only) on demand by the Institute.

2) We………………………………do hereby undertake to pay the amounts due and payable under this Guarantee without any demure, merely on a demand from the Institute stating that the amount claimed is required to that recoveries due or likely to be due from the contractor (s).  Any such demand on the Bank shall be conclusive as regard the amount due and payable by the bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs…………………………(Rupees…………………….only)

3) We, the said bank further undertake to pay to IITM any money so demanded notwithstanding any dispute or disputes raised by the contractor (s) in any suit or proceeding pending before any court or Tribunal relating thereto, our liability under this present guarantee being absolute and unequivocal.

The payment so made by us under this bond shall be a valid discharge of our liability payment therein under and the contractor (s) shall have no claim against us for making such payment.

4) We……(indicate the name of the bank)……..further agree that the guarantee herein Contained shall remain in full force during the SIX months period.

5) We……(indicate the name of the bank)………further agree with the Institute that  the Institute  shall have the fullest liberty without our consent without effecting in any manner our obligations hereunder to vary any of the terms and conditions of the said agreement or to extend time of performance by the said contractor (s) from time to time or to postpone for any time or from time to time any of the powers exercisable by the Institute  against the said contractor (s) and to forebear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation or extension being granted to the said contractor (s) or for any forbearance, act of omission on the part of the Institute on any indulgence by the Institute  to the said contractor (s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

6) This guarantee will not be discharged due to the change in the constitution of the bank or the contractor (s).

7) We……(indicate the name of the bank)………lastly undertake not to revoke this          Guarantee except with the previous consent of the Institute in writing.

8)	This guarantee shall be valid up to SIX months unless extended on demand by Institute.  Notwithstanding anything mentioned above, our liabilities under this guarantee is restricted to Rs … (Rupees ……) and unless a claim of writing is lodged with us within six month of the date of expiry or extended date  of expiry of this  guarantee all our  liabilities under this guarantee shall stand discharge.

Dated the…………………..day of……………for……………….. (Indicate the name of the Bank)

additional conditions - I

1.	The contractor shall make arrangement for obtaining electric connections if required and make necessary payments for the same as per rules

2.	Other agencies doing works related with this project will also simultaneously execute the works and the contractor shall afford necessary facilities for the same.  The contractor shall leave such necessary holes, openings etc, for laying/burying in the work of pipes, cable, conduits, clamps, boxes and hooks for fan clamps etc. as may be required for other agencies. Conduits for electrical wiring/cables will be laid in a way that they leave enough space for concreting and do not adversely affect the structural members.  Nothing extra over the agreement rates shall be paid for the same.

3.	Some restrictions may be imposed by the security staff etc.  on the working and on movement of labour, materials etc.   The contractor shall be bound to follow all such restrictions/instructions and nothing extra hall be payable on this account. The contractor shall comply with proper and legal orders and directions of the local or public authority or municipality and abide by their rule and regulations and pay all fees and charge, which he may be liable

4.	(a) The building work will be carried out in the manner complying in all respects with the

requirements of relevant bye-laws of the local body under the jurisdiction of which the

work is to be executed or as directed by the Engineer-in-Charge and nothing extra will

be paid of this account.

(b) The work of water supply, internal sanitary installations and drainage work etc. shall be carried out as per local Municipal Corporation or such local body-bye-laws and the contractor shall produce necessary completion certificate from such authorities after completion of the work, if required.

(c)	Water tanks, taps sanitary, water supply an drainage pipes, fitting and accessories should conform to bye-laws and specification of the Municipal Body/Corporation where CPWD specifications are not available. The contractor should engage licensed plumbers for the work and get the materials (fixtures/fittings) tested by the Municipal Body/Corporation authorities wherever required at his own cost.

(d)	The contractor shall comply with proper and legal orders and directions of the local or public authority or municipality and abide by their rule and regulations and pay all fees and charge, which he may be liable.

5.	The contractor shall take instructions from the Engineer-in-Charge for stacking of materials in any place.  No excavated earth or building materials shall be stacked on areas where other buildings, roads, services compound walls are to be constructed.

6.	Construction labour shall not be permitted (except staff for watch and ward) to stay inside the campus. The contractor has to arrange for necessary photo identity passes for the labour for entry in to the campus. The labour movement should be restricted to the areas where work is carried out.

ADDITIONAL CONDITIONS - II

## 2.0 AGREEMENT

Agreement shall be drawn with the successful Tenderer as per General Conditions of Contract for CPWD works. This document is a priced publication and interested tenderers may purchase and study the various clauses before submitting the tender.

## 3.0 TIME FOR COMPLETION OF WORK

The time allowed for carrying out the work will be 3 Months from the 14th day after the date of written order to commence the work or from the first day of handing over the site, whichever is later, in accordance with the phasing if any indicated in the Tender documents.

## 4.0 AVAILABILITY OF SITE

The site for the work is available.

6.0 CLARIFICATIONS ON TENDER DOCUMENTS

A prospective Tenderer requiring any clarification on the Tender Document may notify Executive Engineer (Civil), IITM at Chennai.  The Executive Engineer (Civil)will respond to any request for clarification which he receives earlier than 15 days prior to the deadline for submission of Tenders. Copies of the response shall be forwarded who have attended the meeting.

9. EARNEST MONEY

The Tender should be accompanied by Earnest Money for an amount of                                Rs. 49,000/- (Rupees Fourty Nine Thousand only). The EMD shall be paid in the form of Demand Draft drawn in favour of IITM Chennai – 600 036 on any Scheduled Bank payable at Chennai.

Any Tender not accompanied by Earnest Money in an acceptable form shall be rejected by the Employer as non-responsive.

The Earnest Money of the successful Tenderer will be taken as part of the Security Deposit as stipulated in Clause 1A of “General conditions of Contract”.

The Earnest Money will be forfeited to an extent of 50%, if during the period of Tender Validity, the tenderer

(a)	Withdraws his Tender

or

(b)	Makes any modifications in the terms and conditions of the Tender which are not acceptable to the Employer.

The Earnest Money will be forfeited in full if the successful Tenderer.

(i)	Fails to commence the work on 14th day after the date on which the Employer issues written order to commence the work/ handing over the site which ever is later.

10. ALTERNATIVE PROPOSALS BY THE TENDERERS

The Tenderers shall submit offers, which comply strictly with the requirements of the Tender Document.  Alternatives or any modification shall render the Tender invalid.

11. AUTHORITY TO SIGN

(a)	If the Applicant is an individual, he should sign above his full type written name and current address.

(b)	If the Applicant is a proprietary firm, the Proprietor should sign above his full type written name and the full name of his firm with its current address.

(c)	If the Applicant is a firm in partnership, the Documents should be signed by all the Partners of the firm above their full type written names and current addresses.  Alternatively the Documents should be signed by a Partner holding Power of Attorney for the firm and in this case a certified copy of the Power of Attorney should accompany the Documents.  In both cases a certified copy of the Partnership Deed and current address of all the partners of the firms should be furnished.

(d)	If the Applicant is a limited Company, or a Corporation, the Documents shall be signed by a duly authorized person holding Power of Attorney for signing the Documents, accompanied by a copy of the Power of Attorney.  The Applicant should also furnish a copy of the Memorandum of Articles of Association duly attested by a Public Notary.

LATE TENDER

Any Tender received after the deadline prescribed will be returned unopened to the Tenderer.

note on

General condition of contract and

schedules a to f

1.	The general condition of contract Clauses of Contract and Schedules A to F should be read in conjunction with Correction Slip (C.S.) issued by the DG (Works), CPWD, New Delhi up to till date

2.	Wherever the expression “The President of India” or “The Government” or “The CPWD” appears in the clauses it should be substituted by the expression “IITM” representing “Indian Institute of Technology Madras”.

- Wherever the expression “divisional Officer” appears in the Clauses, it should be        substituted by the expression “Executive Engineer (Civil)”.

- Engineer in Charge” means Executive Engineer (Civil), IITM, and the Engineer means the                         officer representing the Engineer-in-Charge of the Project.

SPECIAL CONDITIONS

- No plot rent shall be charged for materials stocked in the institute land during the course of construction with the prior approval the engineer provided all such materials are removed within one month after the works are completed.

- Royalty or charges due for use of private quarries and private land shall be paid by the Contractor.

- No labour camps shall be permitted in side the IIT campus. Workers should be made to confine themselves to the work areas and should not wander in to the near by areas / buildings/ forests.

- If night work is required to be carried out to fulfill the agreed rate of progress all arrangement shall be made by the Contractor inclusive of lighting the area without any claim for extra rate. To the extent possible engaging women labour in the night shift should be avoided.

5.	The works shall be carried as per   C.P.W.D specifications with Addenda and Corrigenda issued up o the date of receipt of tender and as per best Engineering practice.

6	No variations from, additions to and omissions from    in the items of work shall vitiate the contract. All such variations, additions, substitutions etc shall be decided as per the terms of the contract agreement.

7.   Child Labour is strictly prohibited.

8.	Water will be supplied by I.I.T Madras and the contractors will be charged @ 1.5% of the total value of work done.

9.	Holes and chasis for water supply and drainage, etc, shall be provided as directed during progress of work without any claim for extra for finishing.

10. The work shall be carried out with least hindrance to the adjoining building and offices and the contractors will be responsible for any damages, caused to the existing fixtures, electric fitting, etc. in the course of execution and the contractor shall make good any such, damages without any claim for extra.

11. The contractor shall make arrangement for obtaining electric connections if required and make necessary payments for Electrical Consumption at the rare of Rupees 10.50 per unit.

Special condition for Protection for Environment

- The debris / construction waste and other waste generated from the work spot should not be thrown inside the campus.  All waste material should be taken out of the campus or should be dumped at a place earmarked by the Engineer in charge.

- All construction material should be stored only at places earmarked by the engineer in charge.  Material like cement, aggregate, steel etc should not be stored in buildings that are in use. If any material stored in unauthorized location the same shall got removed at the cost of contractor and necessary rent shall be levied for the area used for storage.

- Necessary display boards indicating the following shall be displayed in a conspicuous place near the work spot.

  - Name of the work

  - Name of the contractor and Contact Number

  - Tendered cost

  - Date of start and stipulated date of completion

  - AEE  and JE in charge for the work  and Contact number

- A Suggestion box should be kept near the above said board.

- For Intercarting of various materials animal drawn vehicles are strictly prohibited.

- Preparation of concrete, mortars in the roads, pavements, under the building bare floors is strictly prohibited.

- While transporting the materials along the road, spillage of material should be avoided. If any spillage occurs the same should be got cleaned immediately.

- No vegetation inside the campus should be damaged.

- Drinking water requirement of the labour should be arranged by the contractor and they should be instruct not to misuse the facilities available in the various buildings.

- All labour should be dressed properly attending to work wearing dhotis, lungies should be avoided.

- The workmen shall wear suitable protection devices like mask, gloves, shoes etc,

Any violation of above will attract levy of compensation by the engineer in charge on the contractor.

INSURANCE TO BE TAKEN BY THE CONTRACTOR AND EMPLOYER TO BE INDEMNIFIED

Third Party Insurance

Before commencing the execution of the Works, the contractor shall insure against the liability for any material or physical damage, loss or injury which may occur to any property or life including that of the Employer or to any person, including any employee of the Employer, by or arising out of the execution of the works or in the carrying out of the Contract. The cum insured will be for Rs. 5 lakhs,

Such insurance shall be effected with an insurer and in terms approved by the Employer. The Contractor shall, whenever required, produce before the Engineer-in-charge the policy or policies of insurance and the receipts of payment of the current premiums.

Workmen's Insurance

The Employer's shall not be liable for any payment in respect of any damages or compensation payable according to law in respect or in consequence of any accident or injury or loss of life to any workman or other person in the employment of the Contractor or any sub-contractor, except an accident or injury resulting from any act or default of the Employer, his agents or servants. The Contractor shall insure against such liability with an insurer approved by the Employer for sum of the established norms during the entire period till completion of Period of Maintenance.

Recovery from the Contractor

Without prejudice for the other rights of the Employer against the Contractor in respect of such default, the Employer shall be entitled to deduct from any sums payable to the Contractor the amount of any damages, compensation costs, charges and other expenses paid by the Employer and which are payable by the Contractor under this clause.

Period of Policies

All the insurance covers mentioned above shall be kept alive during the complete period of the contract. Remedy on Contractor’s Failure to Insure. If the Contractor shall fail to effect and keep in force the insurance referred to above, or any other insurance which he may be required to effect under the terms of the Contract, then and in any such case the Employer on advice of the Engineer-in-Charge may effect and keep in force any such insurance and pay such premium or premiums as may be necessary for that purpose and from time to time deduct the amount so paid by the Employer as aforesaid from any moneys due or which may become due to the Contractor, or recover the same as debt due from the Contractor.

Damage to Persons and Property – Employer to be Indemnify

The Contractor shall indemnify the Employer against all losses and claims in respect of injuries or damages to any person or material or physical damage to any property whatsoever which may arise out of or in consequence of the execution and maintenance of the works and against all claims, proceedings, damages, costs, charges and expenses whatsoever in respect of or in relation thereto, except any compensation or damages for or with respect to:

(a)	The permanent use or occupation of land by the works or any part thereof.

(b)	The right of the Employer to execute the works or any part thereof on, over, under, in or through any land.

(c)	Injuries or damage to persons or property resulting from any act or neglect of the Employer, his agents, servants or other contractors, not being employed by the Contractor or for or in respect of any claims, proceedings, damages, costs, charges and expenses in respect thereof or in relation thereto or where the injury or damage was contributed to by the contractor, his servants or agents, such part of the compensations as may be just and equitable having regard to the extent of the responsibility of the Employer, his servant or agent or other Contractors, for the damage or injury.

Signature of Contractor 			   		                Executive Engineer (Civil)

MEASUREMENT & PREPARATION OF BILL

14.1 Computerized Bill to be submitted by the Contractor

Conventional measurement book shall be replaced by a bound volume of computerized measurements to be furnished by the contractor, duly machine numbered for the pages, and with MB number given by the Institute.  The pages of these measurements books shall be of A4 size.  All these measurements books shall be serially numbered and a record of these computerized measurements book shall be maintained in a separate register.  The same format as in existing measurement books shall be used for the computerized measurement books. The measurements shall be carried forward from the previous recorded measurement as per the existing procedure.

14.2 Mode of measurements

The measurements shall be recorded and entered in the computerized format in the first instance by the contractor and a hard copy shall be submitted to the Institute.   All entries shall be made as per the existing procedure. This measurements shall then be 100% checked by the Junior Engineer/ Assistant Engineer, and test checked by the Asst. Executive Engineer and Executive Engineer (Civil)as per the existing procedure.  If Junior Engineer is not available, then the Asst Executive Engineer shall perform 100% check of the measurements.

The contractor shall incorporate all such changes or corrections, as may be done during the checks / test checks, to his draft computerized measurements and submit the final computerized measurements in the form of a book, duly hard bound in red colour on the lines of the conventional measurements books now in use with its pages machine numbered.

The Junior Engineer / Asst. Engineer, Assistant Executive Engineer, Executive Engineer (Civil)shall check the computerized measurements to ensure that all the changes or corrections made by them earlier in the draft measurements are correctly incorporated in the final measurements.  This book shall be treated as computerized measurement.

The Junior Engineer/ Asst. Engineer, Assistant Executive Engineer and Executive Engineer (Civil)shall record the necessary certificate for their checks and test checks as per the existing procedure in this computerized measurement books. The computerized measurements book shall be allotted a serial number as per the register of computerized measurement books maintained by IITM.

14.3 Cuttings / over writing/ insertions in the computerized measurements books are not allowed.

The computerized measurements books given by the contractor, duly bound, with its pages numbered, shall have no cutting or over writing. In case of any error, computerized misprints shall be canceled and the contractor shall re submit a fresh computerized measurements books.

This should be done before submission of corresponding computerized billing. The contractor shall submit as many copies of computerized measurement books as may be required and as specified in the NIT / contract for the purpose of reference and recording the various office of the department.

14.4 Computerized bill to be submitted by the contractor

The contractor shall submit his running and final bill in a computerized form in the same format as the existing conventional bills with all the pages machine numbered and hard bound made and with all the entries  as per the existing procedure.  The contractor shall submit as many copies of the computerized bills as may be required for the purpose of reference and record. The bill shall be carried forward from the previous running account bill as per the existing procedure. The computerized bill may be processed as per the existing procedure.

Computerized bill to be submitted by the contractor

The contractor shall submit his running and final bill in a computerized form in the same format as the existing conventional bills with all the pages machine numbered and hard bound made and with all the entries  as per the existing procedure.  The contractor shall submit as many copies of the computerized bills as may required for the purpose of reference and record. The bill shall be carried forward from the previous running account bill as per the existing procedure.

The computerized bill as may be processed as per the existing procedure.

Signature of the Contractor                                                            	  Executive Engineer (Civil)

CONDITIONS FOR CEMENT AND STEEL BROUGHT BY THE CONTRACTOR FOR USE IN THE WORK

- The contractor shall procure 43grade (conforming to IS 8112)ordinary Portland cement or PPC as decided by the Engineer in Charge  from reputed manufactures of cement having a production capacity of one million tones per annum or more ,such as ACC, Ultratech (L & T), Ramco,   Chettinadu, Birla  Cement Corporation of India, etc or any approved by the Ministry of Industry, Government of India and holding license to use ISI Certification mark for their product whose name shall be got approved from the Engineer-in –Charge. The tenderer may submite a list of names of cement manufactures whose product they propose to use. The Engineer incharge has right to accept or reject the names of the manufactures which the tenderer propose to use in the work.  No change in tendered rates will be accepted if the tendered accepting authority does not accepting the list of cement manufactures given by the tenderer with fully or partly.  Supply of cement shall be taken in 50 kg bags bearing manufacture’s name and ISI marking Samples of cement arranged by the contractor shall be got tested in accordance with provisions of relevant BIS codes. In case test results indicate that the cement arranged by the contractor do not confirm to the relevant BIS codes, the same shall stand rejected and shall be removed from the site by the contractor at his own cost with in a week’s time of written order form the Engineer-in-charge to do so.

- The cement shall be brought at site in bulk supply of approximately 50 tonnes or as decided by the Engineer- in- charge The cement go-down of the capacity to store a maximum of 2000 bags of cement shall be constructed by the contractor at site or work for which no extra payment shall be more. Double lock provision shall be made in the door of the cement go-down, the keys of one lock shall remain with the engineer-in-charge or his authorized representative and the key of the other lock shall remain with the contractor. The contractor shall be responsible for the watch and ward and safety of the cement go-down. The contractor shall facilitate the inspection of the cement go-down by the Engineer-in-Charge or his authorized representative  at any time

- The contractor shall supply free of charge the cement required for testing, at  the frequency and the details of the test shall be decided by the Engineer-in-Charge depending on the quantum of supply in each batch. The cost of tests shall be born by the contractor/Institute in the manner indicated below

  - by the contractor, if the results show that the cement does not conform to the relevant BIS Codes.

  - by the Institute, if the results show that the cement conforms to relevant BIS Codes

- The actual issue and consumption of cement on work shall be regulated and proper accounts maintained as provided in the contract. The theoretical consumption of cement shall be worked out as per procedure prescribed in the contract and shall be governed by conditions laid there in. Items for which standard coefficients of cement consumption are not available in DSR 2002,the same shall be decided by the Engineer-in-charge.

- Cement brought to site and cement remaining unused after completion of work shall not be removed from site without written permission of the Engineer-in-charge.

- The cement bags shall be stacked on proper floors  consisting of two layers of dry bricks laid on well consolidated earth at a level of at least one foot above ground level. The stacks shall be in rows of two and 10 bags high with a minimum of 0.6 m clear space all round. The bags should be placed horizontally continuous in each line. actual size/shape of go-down shall be as per site requirements and nothing shall be paid on this account. The decision of Engineer-in-charge regarding the capacity of the godown shall be final.

- Cement register for the cement shall be maintained at site. The account of daily receipt and issue of cement shall be maintained in register in the proforma prescribed and signed daily by the contractor or this authorized agent.

- Steel brought to site and steel remaining unused shall not be removed from site without the written permission of the Engineer-in-charge.

- The standard section weights referred to as standard tables of CPWD Specifications shall be considered for conversions of length of various sizes of MS bars and cold Twisted bars/high yield strength deformed bars/thermo-mechanically treated bars into weight are as under

| Size (dia in mm) | Weight in kg/m |
| --- | --- |
| 6 | 0.222 |
| 8 | 0.395 |
| 10 | 0.617 |
| 12 | 0.888 |
| 16 | 1.579 |
| 18 | 1.999 |
| 20 | 2.467 |
| 22 | 2.985 |
| 25 | 3.855 |
| 28 | 4.836 |
| 32 | 6.316 |
| 36 | 7.994 |
| 40 | 9.869 |
| 45 | 12.490 |
| 50 | 15.424 |

For steel, measurement will be regulated on sectional weight basis, weight being calculated with help of above tables. The weight shall be taken as per actual basis. If actual weight found lower than the standard weight but within tolerance limits as per relevant IS codes. Nothing extra shall be paid for over weight of steel section than given in the table.

The mild steel to be used shall conformed to IS 432-cold twisted bars/High yield strength deformed bars and thermo-mechanically treated bars shall conformed top IS 1786. The contractor shall submit challan / bill / gate pass /cash memo in support of material purchased from manufactures/their authorized dealers/authorized producer.

Over theoretical quantity of materials so computed a variations shall be allowed as specified in schedule F. if the quantities of materials actually used are less than the theoretical Quantities including authorized variations, the cost at market rates plus 10% including cartage to the site of such quantities of materials as determined by Engineer-in-charge, which shall be final and binding, shall be recovered from the contractor without prejudice to department rights/remedies available under the contractor, for action against substandard work.

Indian Institute of technology Madras

Bill of Quantities

Name of the work: “Construction of new owzone shed near shopping complex at IITM.”

Tender No            : 81R / 2012 - 13 / Civil.

| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | 152.00 | Earthwork in Excavation in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5m, including getting out the excavated soil and disposal of surplus excavated soil. All kinds of soil | Cum |  |  |
| 2 | 38.00 | Supplying and filling in plinth with river sand under floors including watering, ramming, consolidating and dressing complete | Cum |  |  |
| 3 | 18.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level : 1 : 4 : 8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40mm nominal size) | Cum |  |  |
| 4 | 44.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level : 1 : 3 : 6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size) | Cum |  |  |
| 5 | 74.00 | Supplying and filling of Quarry dust in layer not exceeding 20cm and watering each layer thoroughly with consolidation and ramming etc., complete for basement and in foundation. | Cum |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| 6 | 28.00 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of specified grade for reinforced cement concrete work including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement. Including admixtures in recommended proportions as per IS 9103 to accelerate, retard setting of concrete, improve workability without impairing strength on the durability as per direction of Engineer-in-charge. M35 grade reinforced cement concrete by using 410 Kg of cement per cum of concrete. all work upto floor V level. (Minimum 380kg/cum cement). | Cum |  |  |
| 7 | 195.00 | Providing centering shuttering and form work for RCC works for all applicable RCC items in this schedule using best quality of film coated plywood centering and shuttering materials, for required heights and sizes in all floors and all levels including charges for de-moulding agent, removal of form work etc complete at all levels. | Sqm |  |  |
| 8 | 4200.00 | Supplying cutting bending and fabricating and placing in position as directed steel (SAIL, TISCO or RINL) reinforcement for RCC works in all floors, using MS or High Strength Deformed bars/RTS and MS binding wire 18 gauge etc complete at all levels. | Kg |  |  |
| 9 | 49.00 | Brick work with Flyash concrete blocks of class designation7.5 in superstructure upto plinth level in all shapes and size in cm 1:6 (1cement:6 coarse sand) | Cum |  |  |
| 10 | 9.00 | Brick work with Flyash concrete blocks of class designation 50 in superstructure above plinth level up to floor five level in all shapes and size in cm 1:6 (1cement:6 coarse sand) | Cum |  |  |
| 11 | 115.00 | Half Brick masonry with bricks of Flyash concrete blocks in superstructure above plinth in upto floor five level in all shapes Cement mortar 1:4 (1 Cement : 4 Coarse sand) | Sqm |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| 12 | 115.00 | Extra for providing and placing in position 2Nos 6mm dia M.S bars at every third course of half bricks masonry. | Sqm |  |  |
| 13 | 170.00 | 12mm cement of plaster of mix 1:4 (1 Cement : 4 Coarse sand) | Sqm |  |  |
| 14 | 145.00 | 15mm cement plaster on rough side of single or half brick wall of mix : 1:4 (1 Cement : 4 Coarse sand) | Sqm |  |  |
| 15 | 215.00 | Cement Concrete flooring 1:2:4 (1 Cement : 2 Coarse sand : 4 graded stone aggregate) finished with a floating coat of neat Cement including cement slurry, but excluding the cost nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | Sqm |  |  |
| 16 | 360.00 | Making grove in cement concrete flooring up to 25mm depth & 5-8mm width and filling with bitumen in expansion joint. | Rm |  |  |
| 17 | 10.00 | Cement plaster skirting (upto 30 cm height) with Cement 1: 3 (1 Cement: 3 Coarse sand) finished with the floating coat of neat cement. 18 mm thick | Sqm |  |  |
| 18 | 1500.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc. including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolting with special shaped washers etc. complete. | Kg |  |  |
| 19 | 6000.00 | Structural Steel work welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer (Zinchromite primer) all etc | Kg |  |  |
| 20 | 200.00 | Providing and fixing of GI weld mesh safety shutter by using GI weld mesh of 2"x2"(16 gauge) welded with MS angles 40x6mm all-round with 20x6mm flat MS angle fixed with the support including one coat of zinc chromate primer and two coats of synthetic enamel paint and labour charges etc., complete (Asian/ICI/Berger). | Sqm |  |  |
| 21 | 145.00 | Applying one coat of cement primer of approved brand and manufacture on wall surface cement primer. Item 11&12. | Sqm |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| 22 | 145.00 | Finishing walls with water proofing cement paint of required shade on new work (two or more coats applied @3.84kg/10sqm). External painting | Sqm |  |  |
| 23 | 170.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade New work (two or more coats) over and including priming coat with cement primer. Internal painting. | Sqm |  |  |
| 24 | 141.30 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade in all floors for wood/steel work. 1st quality. (Two or more coats over and including a coat of suitable primer) (ICI /Asian / Berger), For weld mesh only. | Sqm |  |  |
| 25 | 410.00 | Supply and installation of pre-coated Galvanized iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50mm+/-5%total coated thickness (TCT) thick zinc coating 120gsm as per IS: 277 in 240mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15 to 18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches while transportation and should be supplied in single length upto 12 m or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling/self tapping screws of size (5.5x55mm) with EPDM seal or with polymer coated J or L hooks, bolts and nuts 8mm diameter with bitumen and GI limpet washers of with GI limpet washers filled with white lead complete upto any pitch in horizontal/ vertical or curved surfaces excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | Sqm |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| 26 | 20.00 | Providing and fixing pre-coated Galvanizes sheet roofing accessories 0.50mm +- 5% total quoted thickness (TCT) zinc coating 120 GSM as per IS 277 in 240 MPa steel grade 5-7 micron epoxy primer on both side of the sheet and polyester top coat 15 to 18 microns using self drilling by self tapping screws or with polymer coated Z or L hooks bolts and nuts and GI seam bolt and nut, GI plain and bitumen washer complete at all levels. Ridge plain (500 - 600mm) | Rm |  |  |
| 27 |  | Providing and fixing on wall face unplasticised - Rigid PVC rain water pipes/ waste pipe conforming to IS : 13562 Type A including jointing with seal ring informing to IS : 5382 leaving 10mm gap for thermal expansion (Finolex/prince/supreme). |  |  |  |
| a | 40.00 | 110mm dia | Rm |  |  |
| b | 10.00 | 75mm dia | Rm |  |  |
| 28 |  | Providing and fixing on wall faced unplasticised - PVC moulded fitting / accessories for unplasticised - Rigid PVC pipe |  |  |  |
| 28.1 |  | 110 mm dia |  |  |  |
| a | 8.00 | Coupler | Nos |  |  |
| b | 4.00 | Plain bend | Nos |  |  |
| c | 4.00 | Door bend | Nos |  |  |
| d | 4.00 | Door Tee | Nos |  |  |
| 28.2 |  | 75mm dia |  |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| a | 4.00 | Plain bend | Nos |  |  |
| b | 4.00 | Door bend | Nos |  |  |
| c | 4.00 | Door Tee | Nos |  |  |
| 29 | 15.00 | Providing and laying floor first quality antiskid ceramic tiles (Johnson/Kajaria) for floors of size 300x300x10mm or higher size and minimum thickness of approved shade and pattern in flooring for toilet on bed plaster CM 1:4, 20mm thick with sieved sand mixed with approved water proofing compound (CICO / ROFF), | Sqm |  |  |
| 30 | 35.00 | Providing and laying wall first quality ceramic tiles Johnson/Kajaria for floors of size 300x200x7mm or 300x300x7mm minimum thickness approved shade and pattern in floors on bed plaster CM 1:4 with approved water proofing compound (Fosroc/ BASF), | Sqm |  |  |
| 31 | 2.00 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : Flat back wash basin of size 550 x 400 mm (Parryware / Hindware) | Nos |  |  |
| 32 | 2.00 | Providing and fixing PTMT waste coupling for wash basin of approved quality and colour waste coupling 31mm of 79mm length and 62mm breadth weighing not less than 45gms | Nos |  |  |
| 33 | 2.00 | Providing and fixing PVC waste pipe for sink or wash basin including PVC waste fittings complete. Flexible pipe 40 mm dia | Nos |  |  |
| 34 | 4.00 | Providing and fixing unplastisized PVC connection pipe with PTMT nuts collar and bush of approved quality and colour 15mm nominal bore with 45cm long | Nos |  |  |
| 35 | 2.00 | Providing and fixing 600 x 450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with CP brass screws and washers complete (Saint Gobain / Modifloat) | Nos |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| 36 | 2.00 | Providing and fixing white vitreous china water closet squatting pan (Indian type) Orissa pattern WC Pan of size 580 x 440 mm. (Hindware / Parryware) | Nos |  |  |
| 37 | 2.00 | Providing and fixing low level flushing cistern with manually controlled device (handle lever) confirming to IS: 7231, Parryware / Hindware / Seabird / Orient (Coral) with all fittings and fixtures complete. 10 lt. capacity - white | Nos |  |  |
| 38 | 4.00 | Providing and fixing 100 mm sand cast iron grating for gully, floor or nahini trap | Nos |  |  |
| 39 | 4.00 | Providing and fixing PTMT (An Engineering thermoplastic) bib cock of approved quality colour and make (Prayag or equivalent)15mm nominal size, 86 mm long, 102mm high and 43mm wide with 12mm seat dia and replaceable Washers, weighing not less than 90 gms | Nos |  |  |
| 40 | 4.00 | Providing and fixing PTMT angle stop cock 15 mm nominal size with deluxe handles, 59 mm wide, 125 mm high and 42 mm breadth with 12 mm seat dia. And replaceable washers, weighing not less than 90 gms. Provided with flange of 56 mm dia. of approved quality, colour and make (Prayag or equivalent) | Nos |  |  |
| 41 | 25.00 | Supplying and laying of 60mm thick M25 grade Interlocking concrete blocks tested in accordance with BS6717 Part-I, 1986; manufactured using homogeneous designed concrete mix, vibro-compaction process, weigh batching and high speed pan mixing suitably cured in controlled conditions and laying the same over a 50mm thick sand bedding layer level and slope etc., | Sqm |  |  |
| 42 | 1.00 | Providing and fixing gun metal gate valve with C.I wheel of approved quality ( screwed end) 25mm nominal bore | Nos |  |  |
| 43 | 0.20 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position : | Cum |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| 44 | 5.00 | Providing and fixing ISI marked flush door shutters decorative type, core of block board construction with frame of First class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters.30mm thick including ISI marked Stainless steel butt hinges with necessary screws.(Shakthi / Kutty / Western India) | Sqm |  |  |
| 45 | 5.00 | Extra for providing lipping with second class teak wood battens 25mm minimum depth on all edges of shutters ( Overall area of door shutter to be measured) | Sqm |  |  |
| 46 | 10.00 | Providing and fixing aluminium handles ISI marked anodized (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc complete (Classic, Crown, Jal). 125 mm. | Nos |  |  |
| 47 | 2.00 | Providing and fixing glazing in door, window, ventilator shutters and partitions etc.,.with EPDM rubber/neoprene gasket etc with 4mm thick glass. | sqm |  |  |
| 48 a | 25.00 | Providing and fixing Chlorinated Polyvinyl chloride (CPVC ) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching , refilling & testing of joints complete as per direction of Engineer in charge. 25mm nominal dia internal pipe line from tank to toilet | RM |  |  |
| 48b | 25.00 | Providing and fixing Chlorinated Polyvinyl chloride (CPVC ) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching , refilling & testing of joints complete as per direction of Engineer in charge. 20mm nominal dia | RM |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| 49 | 4.00 | Providing and fixing square mouth SW gully trap grade 'A' complete with CI grating brick masonry chamber with water tight CI cover with frame of 300x300mm size inside the weight of cover to be not less than 4.50kg and frame to be not less than 2.70kg as per standard design 100x100mm size P type | Nos |  |  |
| 50 | 2.00 | Constructing brick masonry manhole in cement mortar 1:4 (1cement : 4 coarse sand) RCC top slab with 1:2:4 mix (1cement:2 coarse sand:4 graded stone aggregate 20mm nominal size) foundation concrete 1:4:8 mix (1 cement: 4 coarse sand:8 graded stone aggregate 40mm nominal size) inside plastering 12mm thick with cement mortar 1:3 (1 cement: 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1cement:2 coarse sand:4 graded stone aggregate 20mm nominal size) finished with a floating coat of neat cement complete as per standard design. inside size 90x80cm and 45cm deep including CI cover with frame (light duty) 455x610mm internal dimensions total weight of cover and frame to be not less than 38kg (weight of cover 23kg and weight of frame 15kg) with FPS bricks with class designation 50. | Nos |  |  |
| 51 | 90.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50m and lift upto 1.5m. | Cum |  |  |
| 52 |  | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: Asian / ICI/ Berger / nerolac. 2 or more coats on new work over an under coat of new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture synthetic enamel paint. |  |  |  |
| a | 1250.00 | For tubular Truss. | Rm |  |  |
| Sl NO | Quantity | Description of work | Unit | Rate | Amount |
| b | 6300.00 | Painting as above but for angles, cleats, plates, etc. | Rm |  |  |
| 53 | 1.00 | Towards charges for fixing the existing steel gate .The rate is including loading conveying and unloading to the site within the inside of IITM campus within 3KM distance and fixing the gate in proper position as direction. | Nos |  |  |
| 54 | 7.00 | Providing and fixing MS weld mesh gate with angles / GI pipe frame with necessary horizontal and vertical supports and MS Aldrop, tower bolts etc complete. | Sqm |  |  |
| 55 | 40.00 | Providing 40x5mm flat iron hold fast 40cm long including fixing to frame with 10mm dia. Bolts, nuts and wooden plugs and embeddings in cement concrete block 30x10x15cm 1:3:6 mix( 1 cement : 3 coarse sand: 6 graded stone aggregate 20mm nominal size) | Nos |  |  |
| Total Amount in Rs. |  |

Total Amount in Rs. (In words) ……………………………………………………………………………………………………………………………………….

Signature of the Contractor                                                                     						           	 Executive Engineer (Civil)