**Department of Physics, Indian Institute of Technology**

 **IIT.P.O. Madras-600 036**

Ref. No. Date: 19 / 05 / 2017

|  |  |  |  |
| --- | --- | --- | --- |
| **PHY** | **2017** | **030** | **STORES** |

To Whom It May Concern:

Dear Sir,  **Due date: 12/ 06 / 2017**

Please find below the specification of *Dry Scroll Pump* we require for purchase. Kindly send us a quotation by the due date mentioned above.

Minimum specification for **Dry Scroll Pump:**

|  |  |  |
| --- | --- | --- |
| **S.No.** | **Specification** | **Type/Size** |
| **1** | **Pumping Speed** | > 35m3/h |
| **2** | **Flange in** | KF flange |
| **3** | **Flange out** | KF flange |
| **4** | **Ultimate Pressure** | < 10-2 mbar |
| **5** | **Input Power**  | 230 VAC |

**Accessories required**

The vendor is required to quote the following accessories which are compatible with the above instrument mentioned for purchase together and *will be* used for price comparison.

|  |  |
| --- | --- |
| **S.No:** | **Accessories** |
| 1234 | External silencer Inlet particle filter Sound enclosure kit Noise Reduction Cover |

Please provide a clear warranty statement

Please send the quotation (technical and price details) by email (signed and scanned) OR hard copy before the due date.

Please mark reference number on top of the quotation.

 Yours Sincerely,

**Sivarama Krishnan**

**Co-ordinator**

 Department of Physics,
 Indian Institute of Technology Madras,
 Chennai -  600036, India.

 Telephone : +91 44 2257 4856