#

# DEPARTMENT OF PHYSICS, IIT MADRAS

 **Tender specifications of the Equipment**

# Equipment: NANO SECOND LASER

|  |
| --- |
| **NANO SECOND LASER** with following **Specifications is required for undergraduate teaching lab of optics and spectroscopy:** |
| Wavelength | 1064 nm |
| Repetition rate | 1-10 Hz or higher (Fixed or variable) |
| Pulse duration | 5-10 ns |
| Pulse energy | 20-50 mJ per pulse |
| The equipment should run1. At room temperature (20-30 C)
2. With power supply of 220-230V AC
3. With internal water cooling of the power supply. No external chiller is required. Air-cooled system will be preferred.
 |

Other Conditions

1. Installation and local support must be provided.
2. Should provide two years warranty.

|  |
| --- |
| Head, Department of Physics |
| IIT Madras |