**Technical specifications for Biometric Finger With Card based Attendance cum Door Access Control System for TUE-MSRC second floor research Lab:**

**Essential Technical Specifications: Quantity**

1. **Biometric finger** with card based IN - OUT attendance cum 2 sets

Door Access system for TWO Main Door.

1. **Data cable** : In conduit PVC color coded pipes of approx. 300 mts

300 metres. To provide the rate/metre for cabling in

Conduit PVC pipes.

1. **Software for logging attendance**: The software must provide 1 Nos

Daily attendance listing, weekly attendance listing, attendance

Sheet, Tardiness report, On Leave report, Attendance summary,

Name list, Entry-Exit transaction listing, Day-by-day analysis,

Month-by-month analysis etc.

1. **Installation** : Must include all installation of equipment and

Data cable in PVC conduit including necessary all LABOR charges.

1. **Warranty Period** : Full comprehensive warranty of TWO years

for equipment and cabling system.

1. **Note** : The computer and printer for loading the software will

Be provided by us. The electrical UPS line for the system, at the

required point, will be provided by us.