Technical Specifications for Scanning Double-beam UV-Visible Spectrophotometer

Technical Specifications of the required ‘Scanning double beam UV-Vis spectrophotometer are given below. The vendor is required to indicate his compliance as per the format given. The compliance should be justified by giving reference to the corresponding section in the information brochure on the instrument, which should clearly spell out the details. The vendor has to provide a list of installations of the instrument conforming to the given specification, in/around Chennai. User Certificates for satisfactory installation and service support should be given separately. Quotations should be provided as separate technical and financial bids.

Noncompliance to the above requirements will result in the disqualification of the vendor.

Specifications:

| No. | Description | Technical Specifications of the components in Spectrometer | Compliance (Yes/No) along with reference to the corresponding information in the information brochure on the instrument |
| --- | --- | --- | --- |
| 1 | Wavelength range | 190 – 900 nm |  |
| 2 | Wavelength accuracy | (±)0.3 nm |  |
| 3 | Variable band pass | 0.1 to 5 nm or better |  |
| 4 | Monochromator grating | 1200 lines per mm or more |  |
| 5 | Peltier Cooled Thermostatted Cell holders | Range: 0 0C – 80 0C or better |  |
| 6 | Integrating Sphere attachment |  |  |
| 7 | Cell holders | For 1mm, 10 mm, and 100 mm pathlength cells |  |
| 8 | Cells | one pair each: 1mm, 10mm, and 100 mm |  |
| 9 | Necessary Computer/printer with latest specifications |  |  |
| 10 | Control Software | Free upgradation for five years from the date of purchase |  |
| Optional Accessory: |  |  |  |
| 1 | Necessary attachment / accessories for extending the wavelength range to 1400 nm (minimum) |  |  |