INDIAN INSTITUTE OF TECHNOLOGY,

MADRAS

- APPROVED MAKE LIST FOR EXHAUST SYSTEM

| SL NO | DESCRIPTION | APPROVED MAKE |
| --- | --- | --- |
| 1 | PP sheets for exhaust ducting | Mandhani/Dugar/Khanna |
| 2 | Isothelic Resin | Mechemco/Kaysynth/Orsyn |
| 3 | PP Moulded Exhaust Blower | Colasit / Europlast |
| 4 | VFD | Invertek/Siemens/ABB/Danfoss/Delta |
| 5 | Blower | Colasit |
| 6 | Motor | ABB/CG/Kirloskar |