|  | Indian Institute of Technology Madras I.I.T.P.O., MADRAS-600 036 Computer Centre |
| --- | --- |

Form for Inviting  Quotations

Ref.No.									Date:

| CC | ENQY | 15-16 | SPL/003 |
| --- | --- | --- | --- |

Dear Sirs,								DUE DATE:

Time: 2:00 pm

- Quotations are invited in duplicate for the various items shown below / overleaf /  Enclosed list under RATE CONTRACT BASIS

- The Quotations duly sealed and super scribed on the envelope with the reference No. and due date, should be addressed to the undersigned so as to reach him on or before the due date stipulated above.

- The Quotations should be valid for sixty days from the due date and the period of delivery required should also be clearly indicated.

- If the item is under DGS&D Rate contract No. and the price must be mentioned.  It may also please be indicated whether the supply can be made direct to us at the Rate contract price (Please note that we are not Direct Demanding Officers).  If so please send copy of the RC.

- Relevant literature pertaining to the items quoted with full specifications (and drawing, if any) should be sent along with the Quotations, wherever applicable. Samples if called for, should be submitted free of charges, and collected back at the supplier’s expenses.

- Local Firms: Quotations should be for free delivery to this Institute.  If Quotations for Ex-Godown delivery charges should be indicated separately.

- Firms Outside Madras: Quotations should be for F.O.R. Madras.  If F.O.R. consignor station, freight charges by passenger train / lorry transport must be indicated.  If Ex-Godown, packing, forwarding and freight charges must be indicated.

- The rate of sales / General Taxes and the percentage of such other taxes legally leviable and intended to be claimed should be distinctly shown along with the price quoted.  Where this is not done, no claim for Sales / General Taxes will be admitted at any stage and on any ground whatsoever The taxes leviable should take into consideration that we are entitled to have concessional Sales Tax applicable to non-Government Educational Institutions run with no profit motive for which a concession.  Sales Tax Certificate will be issued at the time of final settlement of the bill.

- Goods should be supplied carriage paid and insured.

- Goods shall not be supplied without an official supply order.

- Payment: Every attempt will be made to make payment within 30 days from the date of receipt of bill / acceptance of goods, whichever is later. Please indicate Total amount with actual product cost + Taxes separately.

- Please note that Technical Bid and Commercial Bid should be submitted separately.

Yours faithfully,

Sd………………

Chairman

Computer Centre

Computer Centre

Indian Institute of Technology Madras

Chennai – 600036

Structured Cabling Requirement for IITM Campus

The appropriate requirement of the specified items is as per the list enclosed. But orders will be placed piece on all quantities as and when needs. The overall contract period should be valid for one year from the date of 1st order/supply. The contract may further be extended for one year with one month notice if required.

Eligibility of Vendors:

- Vendor should be able to supply and install all the items uniformly by themselves.

- Vendor should produce documentary evidence for Certified Cable Installer. Essential for Technical Evaluation.

- Vendor should produce evidence for having professional experience in the implementation of reasonably large Local Area Network (more than 10,000 nodes).

- Vendor should take care of Terms and Conditions listed along with bill of materials.

Terms & Conditions:

- Eligibility of Bidders:

- Should have Certified Installer Certificate from OEM.

- Should produce Evidence for Implementation of more than 10,000 nodes.

Only those who satisfy the above criteria are eligible to bid and considered for further processing.

- Technical Bid:

They have to quote on two bid system. The Technical Quote will be opened first and based on the evaluation commercial bid will be opened for technically qualified Vendors only.

- Technical Requirement:

- UTP & Fiber materials should conform to technical standards. Specified brands are Molex, Panduit (Pan Net Only), Commscope (Systimax only), TE (Amp only), Siemens.

- End-to-End UTP & Fiber accessories (Jackpanel, Cable, I/O, Patch cord, LIU ) should be of same brand, any one from P[i] above.

- RJ45 Connector should be from P[i] above.

- PVC Products should be from Modi’s brand or equivalent.

- Rack should be from HCL / APW President / VALRACK brand only.

- In all the above cases the brand should be specified in the quote.

- Supply & Installation should be carried out by professionals (certified cable installer).

- Technical clearance should be obtained from Computer Centre.

- Termination no. tags should be fixed on Both Ends.

- The vendor must supply soft copy & Hardcopy of wiring diagram after completion of the work.

d) Commercial Bid:

Quotations for Supply of unit price & Tax, Service of Unit Price & Tax and Total Price for each Item and Grand Total should be quoted as per the format attached.

| Bill of Material – Structured Network Cabling |
| --- |
| S.No | Description | Unit | Brand | Supply | Service | Total in Rs. |
|  |  |  |  | Unit Price in Rs. | Tax/ Vat | Unit Price in Rs. | Tax/ Vat |  |
| I | UTP Materials |  |  |  |  |  |  |
| 1 | Cat6 Cable (4 Pair, 23 AWG Solid copper Conductor with FR Grade,Printed Meter Marking) Supply & installation | Meter |  |  |  |  |  |  |
| 2 | Cat6 I/O with Dust Cover to cover RJ45 Interface | Each |  |  |  |  |  |  |
| 3 | SMB & Faceplate Made of PS /ABS Rugged Plastic Supply & installation | Each |  |  |  |  |  |  |
| 4 | 24 Port Jack Panel with Rear Metal Cable Manager, transparent clear Label cover Supply & installation | Each |  |  |  |  |  |  |
| 5 | Cat6 (4 Pair, 24 AWG Standard Copper) Patch Cord – 2 Mtrs | Each |  |  |  |  |  |  |
| 6 | Cat6 ( 4 Pair, 24 AWG standard copper) Patch Cord – 1 Mtrs | Each |  |  |  |  |  |  |
| 7 | RJ45 Connector(Cat6 ) Supply and Crimping | Each |  |  |  |  |  |  |
| 8 | Cat6 STP ( 4 pair 23 AWG Solid Copper with FR Grade, Printed Meter Marking ) Cable Supply & installation | Meter |  |  |  |  |  |  |
| II | Fiber Materials |  |  |  |  |  |  |
| 1 | 6 Core SM 9/125 micron Loose Tube armored, Corrugted Steel Tape Armour thickness > 0.15mm, two steel Gi wire for strength outdoor Fiber Cable Supply & installation | Meter |  |  |  |  |  |  |
| 2 | 12 Core SM 9/125 micron Loose Tube armored, Corrugted Steel Tape Armour thickness > 0.15mm, two steel Gi wire for strength outdoor Fiber Cable Supply & installation | Meter |  |  |  |  |  |  |
| 3 | 24 Core SM 9/125 micron Loose Tube armored, Corrugted Steel Tape Armour thickness > 0.15mm, FRP Rod for strength outdoor Fiber Cable Supply & installation | Meter |  |  |  |  |  |  |
| 4 | 6 Core SM Indoor Fiber Cable Supply & installation | Meter |  |  |  |  |  |  |
| 5 | 12 Core SM Indoor Fiber Cable Supply & installation | Meter |  |  |  |  |  |  |
| 6 | 24 Core SM Indoor Fiber Cable Supply & installation | Meter |  |  |  |  |  |  |
| 7 | SC - SC Single Mode OFC Patch cord, 9/125 Micron – 3 Mtrs | Each |  |  |  |  |  |  |
| 8 | SC - LC Single Mode OFC Patch cord, 9/125 Micron – 3 Mtrs | Each |  |  |  |  |  |  |
| 9 | SC Splicing | Each |  |  |  |  |  |  |
| 10 | USO SC Adapter with Bezels SM | Each |  |  |  |  |  |  |
| 11 | SC Connectors - SM (Pigtail) | Each |  |  |  |  |  |  |
| 12 | 12 Port LIU Rack Mount,Fully Powder Coated Steel Body, Labelling,Metal Fiber Patch cord cover, Adapter Plate with SC or LC duplex type coupler Supply & installation | Each |  |  |  |  |  |  |
| 13 | 24 Port LIU Rack Mount,Fully Powder Coated Steel Body, Labelling,Metal Fiber Patch cord cover, Adapter Plate with SC or LC duplex type coupler Supply & installation | Each |  |  |  |  |  |  |
| 14 | 24 fiber splice Holder, support 45 mm and 61mm Splice protector, ABS halogen free Material, Base with self adhesive Pads of securing on a Flat surface and a lid | Each |  |  |  |  |  |  |
| 15 | Waterproof fiber optic splice enclosure box made of high quality ABS materials, 4 cable entry port, 96 cores capacity, Scope for Straight / branch joints, Resistant to chemical and corrosive atmosphere, Water and Air Proof, Easy re-entry and closing with mechanical Plastic Clamp. | Each |  |  |  |  |  |  |
| III | Implementation materials supply and installation |  |  |  |  |  |  |
| 1 | PVC Channel – 1” | Meter |  |  |  |  |  |  |
| 2 | PVC Pipe – 1” | Meter |  |  |  |  |  |  |
| 3 | PVC Channel – 1.5” | Meter |  |  |  |  |  |  |
| 4 | PVC Pipe – 1.5” | Meter |  |  |  |  |  |  |
| 5 | PVC Channel – 2” | Meter |  |  |  |  |  |  |
| 6 | PVC Pipe – 2” | Meter |  |  |  |  |  |  |
| 7 | HDPE Pipe – 1” | Meter |  |  |  |  |  |  |
| 8 | HDPE Pipe – 1.5” | Meter |  |  |  |  |  |  |
| 9 | HDPE Pipe – 2” | Meter |  |  |  |  |  |  |
| 10 | 4U Rack + 2 Fan + 1 Cable Manager +1 Power Strip | Each |  |  |  |  |  |  |
| 11 | 6U Rack + 2 Fan + 1 Cable Manager +1 Power Strip | Each |  |  |  |  |  |  |
| 12 | 9U Rack + 2 Fan + 1 Cable Manager +1 Power Strip | Each |  |  |  |  |  |  |
| 13 | 12U Rack + 2 Fan + 1 Cable Manager +1 Power Strip | Each |  |  |  |  |  |  |
| IV | Evxcavation of Cable Trench 3 feets depth, Brick & soft soil refilling | Meter |  |  |  |  |  |  |
|  | Grand total |  |