Reference No:                                                                                                    Date: October 18, 2013

| ED | 005 | 2013-14 | SPI |
| --- | --- | --- | --- |

Dear Sir,

We are interested in the import of the items shown/overleaf/as per list enclosed.

X-ray camera for micro-Computed Tomography.

Specifications:

Item: X-ray camera, power supply and control software.

Detector type: Direct or indirect.

Scintillator: For indirect system, Gd2O2S scintillator.

Input taper ratio: For indirect systems  ranging from 3:1  to 1:1.

Active imaging area:  At least  35mm active area.

Image Pixel size: 30-100 micrometers.

Max Frame Rate: At least 2 fps at full resolution.

Software: Software modules to control various camera parameters.

Trigger: Remote triggering.

Digital Resolution: 12 bits or higher.

Dynamic Range: 4000:1 or better.

Energy Range : 5-50 keV.

Binning :   2x2 or higher.

Digitization : 12 bit or higher.

Resolution: At least 6 lp/mm.

Kindly arrange to send your quotation, in duplicate indicating CIF (Chennai) value of supply of the above items by Air Parcel/Air Freight/Ocean Freight, together with the illustrated literature of the items offered.

As per the current Exchange Control Regulations, the agency commission, is payable only in Rupees.  You are, therefore, requested to clearly indicate the amount of agency commission, included in the price, to enable us to deduct any pay the same to your Agents in Rupees on receipt of equipment in good condition.  Also please indicate the validity period (normally for three months) and the warranty terms.  It may please be noted that the letter of credit will be opened for Nett. CIF value only, after deducting the commission.

The due date for receiving the quotation is 19th November, 2013.  The quotation (duly signed hard-copy) should be sent to the following address.

Address:

Dr. Ganapathy Krishnamurthi

Department of Engineering Design,

Indian Institute of Technology Madras,

Chennai 600036, India

Telephone: +91-44-2257 4745

Email: gankrish@iitm.ac.in

Sd/-

(Dr. Ganapathy Krishnamurthi)