Construction of composting plant at Vichoor village- Activity 2

| 2 | Concreting & Superstructure works | Unit | Qty |
| --- | --- | --- | --- |
| 2.a | Providing and laying in position machine batched and machine mixed design mix M-20 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge in all levels. (Note: - Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/recoverable separately). | cum | 39.00 |
| 2.b | Add for using extra cement in the items of design mix over and above the specified cement content therein. | kg | 234.00 |
| 2.c | Centering and shuttering including strutting, propping etc. and removal of form work for all RCC works in all levels. | sqm | 214.00 |
| 2.d | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete in all levels. TMT bars | kg | 5500.00 |
| 2.e | Masonry work with fly ash solid cement concrete blocks M10 grade using Cement mortar 1:6 in all levels. | cum | 36.00 |
| 2.f | Half brick masonry work with fly ash cement concrete blocks M10 grade using Cement mortar 1:4 in all levels | sqm | 17.00 |