| Fire Alarm System with Water free self extinguisher system |
| --- |
| FIRE SUPPRESSION SYSTEM /FM200 SYSTEM |
| Sl No | Particulars | Quantity |
| 1 | Panel signature data loop 230v | 1 No |
| 2 | Network Communication Board | 1 No |
| 3 | RS 232 Communication Board | 1 No |
| 4 | Cabinet / Wall box | 1 No |
| 5 | Door with window red | 1 No |
| Devices |
| 1 | Detector Base | 100 Nos Approx |
| 2 | Intelligent Photoelectric smoke detector | 100 Nos Approx |
| 3 | Manual Pull Station | 8 Nos Approx |
| 4 | Control relay module | 12 Nos Approx |
| 5 | Temporal Horn,84.4/79.4dB,15,30,75,110 cd Strobe, red | 12 Nos Approx |
| 6 | Isolator Module | 5 Nos Approx |
| 7 | Batteries | 2 Nos |
| 8 | Response Indicator | 50 Nos Approx |
| 9 | Supply & Installation of 2c x1.5 sq.mm FRLS twisted(15 Twist per Meter) Screen armored cable RED in colors | 1500 mtr Approx |

Annexure to our Enquiry NO: MET/SSAN/2014/001- A Dt. 17.04.2014.          ( 1 )

Due date 02.05.2014

| S.NO | Description |
| --- | --- |
|  | FIRE SUPPRESSION SYSTEM |
|  | FM200 SYSTEM |
| 1 | Seamless Cylinder CCOE Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure, a pressure gauge with a -afety burst disc and a safety cap etc complete and suitable to fill the gas quantity/ - 4 nos |
| 2 | FM-200 Gas (Hepta fluro propane) DUPONT / - 220 kgs |
| 3 | Electric Control Head operated electrically from the detection & control system & locally with a manual lever on the control head./- 1 no |
| 4 | Pressure Operated Control Head which allows for pressure actuation of FM200 cylinders and are mounted directly on top of the FM 200 cylinder valve./ - 9 nos |
| 5 | Discharge Nozzles are designed to provide the proper flow rate and distribution of FM200 to total flood a hazard area 180 deg./360deg./ -16 nos |
| 6 | Master Cylinder Adapter Kit used to actuate the Slave cylinder (adapters, tee's, elbows etc/ -1 set |
| 7 | Flexible discharge Hose route the FM-200 Agent from the storage cylinders to the discharge piping by 2" flexible rubber hose with wire braided reinforcements.Ths hose s connected to the discharge outlet of FM 200 cylinders valve and terminates at the system / - 7nos |
| 8 | Manifold Check Valve installed at the discharge manifold to allow removal of any FM200 cylinder from the manifold while still retaining a closed system./ - 7 nos |
| 9 | M.S. Container strap /- 14 nos |
| 10 | Flexible Actuation Hose (Pilot pressure is directed to a pressure operated control head on each cylinder valve using 1/4 inch actuation hose). 6- nos |
| 11 | Piping, fittings & supports, etc.Pipes shall be sch.80/40 for Manifold & distribution side./ - 1 lot |
| 12 | Cylinder mounting arrangement for cylinder bank. – 1 lot |
| 13 | Manifold Discharge Pressure Switch/- 1 no |
| 14 | 2C X 1.5 Sq mm PVC insulated, flexible FRLS armored cable with required laying accessories like glands, saddles etc – 50mtr |
| 15 | Gas Release Panel complete with Gas Release Module, Timer, Gas Release Indication, Abort Switch, Manual Release Switch, Auto - Manual Selector Switch with Stand-by Battery & Battery Charger./- 1set |
| 16 | Manual Abort & Manual release Switches with proper MS make enclosure, front with glass/acrylic, hammer, key lock etc./- 1 no |
| 17 | Manifold fabricated from seamless pipe Pipe (S) : M.S. Seamless To ASTM A-106, SCH. 80 /- 1 lot |

a)   Kindly quote separately the Taxes, Delivery charges, Installation & warranty etc.

b)   Please forward us product Make, Catalogue and Literature for the same.

Technical Clarifications, if any please contact

Dr.S.Sankaran

Phone: 044 - 22574760

E: mail ssankaran@iitm.ac.in

*It is requested to visit our site before submit your quotation*

The sealed quotation to be reached on or before 02.05.2014 and forwarded to:                               The Head

Department of Metallurgical & Materials Engg

Indian Institute of Technology Madras

Chennai – 600 036

|  | Dept of Metallurgical & Materials Engg Indian Institute of Technology Madras I.I.T.P.O., MADRAS- 600 036 |
| --- | --- |

Form for Inviting Quotations

| METSSAN | 2014 | 001- A |
| --- | --- | --- |

Ref.No.									Date:

Dear Sirs,							DUE DATE:

- Quotations are invited in duplicate for the various items shown below / overleaf /  Enclosed list.

- The Quotations duly sealed and super scribed on the envelope with the reference No. and due date, should be addressed to the undersigned so as to reach him on or before the due date stipulated above.

- The Quotations should be valid for sixty days from the due date and the period of delivery required should also be clearly indicated.

- If the item is under DGS&D Rate contract No. and the price must be mentioned.  It may also please be indicated whether the supply can be made direct to us at the Rate contract price (Please note that we are not Direct Demanding Officers).  If so please send copy of the RC.

- Relevant literature pertaining to the items quoted with full specifications(and drawing, if any) should be sent along with the Quotations, wherever applicable. Samples if called for, should be submitted free of charges, and collected back at the supplier’s expenses.

- Local Firms : Quotations should be for free delivery to this Institute.  If Quotations for Ex-Godown delivery charges should be indicated separately.

- Firms Outside Madras : Quotations should be for F.O.R. Madras.  If F.O.R. consignor station, freight charges by passenger train / lorry transport must be indicated.  If Ex-Godown, packing, forwarding and freight charges must be indicated.

- The rate of sales / General Taxes and the percentage of such other taxes legally leviable and intended to be claimed should be distinctly shown along with the price quoted.  Where this is not done, no claim for Sales / General Taxes will be admitted at any stage and on any ground whatsoever The taxes leviable should take into consideration that we are entitled to have concessional Sales Tax applicable to non Government Educational Institutions run with no profit motive for which a concession.  Sales Tax Certificate will be issued at the time of final settlement of the bill.

- Goods should be supplied carriage paid and insured.

- Goods shall not be supplied without an official supply order.

- Payment: Every attempt will be made to make payment within 30 days from the date of receipt of bill / acceptance of goods, whichever is later.

- Encl: Annexure Specification attached                                                   Yours faithfully,

For HOD MME