|  | Department of Aerospace Engineering Indian Institute of Technology Madras Chennai – 600 036, India |
| --- | --- |

Prof.K.BHASKAR		                                       	  Phone: 044-2257 5000/ 4014

Head of the Department			                           	  Fax: 044-2257 4002

Email: panch@iitm.ac.in

REF.NO. ASE/NRPA/ Pipeline/ 2014                          Dated:   04/07/2014

Due date: 18/07/2014

Dear Sir,

- Quotations are invited in duplicate for the various items shown below/overleaf/enclosed list.

- The quotations duly sealed and super scribed on the envelope with reference no. and due date, should be addressed to the undersigned so as to reach him or before the due date stipulated above.

- Quotations should be valid for 60 days from the due date and period of delivery be indicated.

- Imported supplies should be quoted for CIF Madras

- Local firms to quote for free delivery to this Institute. If quoted for Ex-Godown delivery charges are indicated separately.

- Relevant literature pertaining to the items quoted with full specifications (and drawing, if any) should be sent along with the Quotations, wherever applicable. Samples / machine/ equipment if called for should be submitted / demonstrated at free of charges, and collected back at the supplier’s expenses. Compliancy certificate is to be provided indicating conformity to the technical specifications

- Sales Tax/General Taxes/ED if applicable and such other taxes legally legible and intended to be claimed should be distinctly shown along with the price quoted. If this is not indicated no such claim will be admitted at any stage.  The taxes legible should take into consideration that we are entitled to have concessional Sales Tax applicable to Non-Government Educational Institutions run with no profit motive for which a concession is given.   Sales Tax Certificate will be issued at the time of final settlement of the bill.

- Goods should be supplied carriage paid and insured.

- Goods shall not be supplied without an official supply order.

- If the item is under DGS&D Rate contract No. and the price must be mentioned.  It may also please be indicated whether the supply can be made direct to us at the Rate contract price (Please note that we are not Direct Demanding Officers).  If so please send copy of the RC.

- Every effort will be made to make payment within 30 days from the date of bill/acceptance of goods whichever is later.

- The Guarantee period of the item may be indicated clearly.

- In case of LC. Payment 90% of the payment will be made after completion of the supply. The balance 10% of the payment will be made after satisfactory installation of the equipment.

- IIT Madras is exempt from payment of Excise Duty and is eligible for concessional rate of custom duty. Necessary certificate will be issued on demand. IIT Madras will make necessary arrangements for the clearance of imported goods at the Airport/Seaport. Hence the price should not include the above charges.

- Acceptance and Rejection- I.I.T. Madras has the right to accept the whole or any part of the Tender or portion of the quantity offered or rejects it in full without assigning any reason.

- The drawings are uploaded in the institute website: http://tenders.iitm.ac.in/

- Fax and Email quotations are not acceptable.

Yours faithfully,

Head of the Department

Aerospace Engineering Department

IIT Madras, Chennai 600036.

Specifications & Requirements :

The requirements are mentioned below:

- The circuit of pipelines consists of 6” diameter pipes as per sketch enclosed.

- The pipelines run:

  - partially above the ground

  - partially below the ground

  - partially inside the building

- The pipes shall be MS seamless of schedule 40- Jindal Make.

- Gate valves and Butterfly valves (Shenco make) are to be provided as per sketch.

- A schematic sketch of the pipeline layout is attached.

| SL NO | DESCRIPTION | QTY |
| --- | --- | --- |
| 1 | NPS 6” SH 40 - PIPE | 45 |
| 2 | NPS 6” ELBOW JOINT | 8 |
| 3 | NPS 6” To 1” REDUCER | 1 |
| 4 | NPS 6” FLANGE | 2 |
| 5 | NPS 6” BUTTERFLY VALVE | 1 |
| 6 | NPS 6” GATE VALVE | 1 |

- Masonry work wherever needed.

- After erection of the work the entire pipeline has to be hydraulically tested at 15 bar.

- For any technical clarification please contact:

Anoop M V, Phone: 9498098050

P. John George, Phone: 044-22575026