|  | Dept. of Applied Mechanics, Indian Institute of Technology Madras Chennai - 36 |
| --- | --- |

Dr. A. AROCKIARAJAN							Phone: 044-2257 4070

Professor 									Fax	: 044-2257 4052

Date:  26.07.2018

Ref.  No.: APM/AARO/2018/ENQ2

Loading frame and data acquisition system for vibrometer measurements

DUE DATE:    17.08.2018

1. Quotations are invited in duplicate for the various items shown in Enclosed list (Annexture - I).

2. Quotations are invited as TWO-BID system, i.e., technical bid and financial bid.

3. The Quotations duly sealed and super scribed on the envelope with the reference No. and due date, should be addressed to the undersigned so as to reach him on or before the due date stipulated above.

4. The Quotations should be valid for sixty days from the due date and the period of delivery required, warranty terms etc. should also be clearly indicated. A minimum of one year warranty required.

5. Brochure detailing technical specifications and performance, list of industrial and educational establishments where the items enquired have been supplied must be provided.

6. Compliancy certificate is to be provided indicating conformity to the technical specifications.

7. If the item is under DGS&D Rate contract No. and the price must be mentioned. It may also please be indicated whether the supply can be made direct to us at the Rate contract price (Please note that we are not Direct Demanding Officers). If so please send copy of the RC.

8. Relevant literature pertaining to the items quoted with full specifications (and drawing, if any) should be sent along with the Quotations, wherever applicable. Samples / machine/ equipment if called for should be submitted / demonstrated at free of charges, and collected back at the supplier’s expenses.

9. Packing and delivery charges must be clearly indicated.

10. The rate of sales / General Taxes and the percentage of such other taxes legally leviable and intended to be claimed should be distinctly shown along with the price quoted. Where this is not done, no claim for Sales / General Taxes will be admitted at any stage and on any ground whatsoever. The taxes  leviable should take into consideration that we are entitled to have concessional Sales Tax applicable to non-Government Educational Institutions run with no profit motive for which a concession. Sales Tax Certificate will be issued at the time of final settlement of the bill.

11. Goods should be supplied carriage paid and insured.

12. Goods shall not be supplied without an official supply order.

13. Payment: Every attempt will be made to make payment within 30 days from the date of receipt of bill / acceptance of goods, whichever is later.

14. In case of LC, 90% of the payment will be made after completion of the supply. The balance 10% of the payment will be made after satisfactory installation of the software.

15. IIT Madras is exempt from payment of Excise Duty and is eligible for concessional rate of custom duty. Necessary certificate will be issued on demand. IIT Madras will make necessary arrangements for the clearance of imported goods at the Airport/Seaport. Hence the price should not include the above

16. Acceptance and Rejection: - I.I.T. Madras has the right to accept the whole or any part of the Tender or portion of the quantity offered or reject it in full without assigning any reason.

Yours faithfully

Arockiarajan, Department of Applied Mechanics.

ANNEXURE – I

Ref..  No.: APM/AARO/2018/ENQ2       Date:   26.07.2018                DUE DATE:     17.08.2018

Specification

Dual column floor type Frame with anti – backlash  ball screws driven, max load cell capacity 100 kN with a rigidity of not less than 300% at kN/mm of the maximum rated capacity. Conforming ISO 7500-1 Class 1, BS1610 Class 1, DIN51221 Class 1, ASTM E4 and other international standards.

Auto test force and strain control function (auto gain setting) Explicit need for metal testing

USB connectivity or better.

Load cell Capacity 100kN at (1/1 to 1/1000) Crosshead Speed range min < 0.001 to ≥ 1000 mm/min

Crosshead Speed range min <0.001 to ≥900 mm/min (for all loads).

Max speed at Max Load capacity 1000mm/min.

Position Control Resolution ≤0.02µm

Return speed 1150mm/min or better

Vertical test space between the Cross head and base plate should be 1200mm or better (Excluding Wedge grips)

Cross head speed & position accuracy ± 0.1 % or better

Data Sampling: 3000Hz or better

Date capture with 4 kHz or better

Machine should have atleast 2 input and 4 output ports as standard feature.

Display resolution: 0.001mm or better.

Explicit Needs:  A. Load cell 100kN (accuracy of ±1%) with minimum rated load range capacity B. Manual wedge grips for testing metals, plastics etc.,  C. Grip faces for flat and round samples (Flat specimens 0 - 21mm and Round specimens 4mm-20mm). D. Compression plate with Dia 100mm and upto max capacity.

Optional Accessories: Flexural / Bending jig to test metal specimens with maximum rated capacity of the machine. Jig to be compatible with international standards

Software  with  following features Compatible  with  Windows  OS,  Built in library  of ASTM  & ISO  methods for  testing flexible materials, Software to possess feature in adopting control type testing (User defined settings) for metals, composites & other  similar  materials Tabbed   navigation  for easy  user  interface Fully  customizable  screen layout & report format Real  time data  display  & curves. Display output resolution needs to be 2x10^-5.

Automatic  values like  modulus, tensile strength should appear  as  the test  proceeds Option of  multiple   graphs  on  the same  screen & report to observe multiple events at the Same time. Curve regenerations, post data analysis should be possible. Off  line mode  to analyse  data  generate  methods  on  the secondary PC   which  is not connected  to machine.

Safety Features: Machine should get automatically stopped if force exceeds a certain level during return or specimen arrangement, two or more emergency stop switches to be placed at prominent positions in the machine frame, upper and lower crosshead limiters, overload limiter to protect the load cell.

It’s mandatory to have that the firm should have supplied at-least 2 UTM’s to IIT’s, NIT’s or DRDO, CSIR or any government Labs in the last three years and a successful performance till date.

Note:

The sealed quotation to be sent to

Dr. A. Arockiarajan

MSB226, Dept. of Applied Mechanics,

IIT Madras, Chennai-600036,

Tamil Nadu, India